## Batch Report
Batch Report
Id | Name | Sample Type | Sample Group | Comparison | N2 |  |  | CO2
[5 empty] | Height (nA) | δ¹⁵N (Gas) | δ¹⁵N (Air) | Height (nA) | δ¹³C (Gas) | δ¹³C (VPDB)
4912 | aspartic-1 mg | (none) |  | FALSE | 4.3136 | 0.29716 | 6.9747 | 11.3495 | -4.3091 | -34.4015
4913 | aspartic-3 mg | (none) |  | FALSE | 13.3999 | 0.059315 | 6.3718 | 24.8686 | -4.5937 | -34.712
[5 empty] | 0 | 0 | 0 | 0 | 0 | 0
[5 empty] | 0 | 0 | 0 | 0 | 0 | 0
4877 | runin | aspartics | aspartics | FALSE | 2.2691 | 1.0209 | 8.8093 | 5.9893 | -3.6 | -33.628
4878 | runin | aspartics | aspartics | FALSE | 2.2967 | 0.99889 | 8.7537 | 5.8123 | -3.6543 | -33.6872
4879 | runin | aspartics | aspartics | FALSE | 2.0657 | 1.4168 | 9.813 | 5.6084 | -3.2898 | -33.2896
4880 | aspartic | aspartics | aspartics | FALSE | 2.2596 | 1.2057 | 9.278 | 5.3803 | -2.9872 | -32.9595
4881 | aspartic | aspartics | aspartics | FALSE | 2.0676 | -0.0091101 | 6.1983 | 5.6826 | -2.3116 | -32.2225
4882 | aspartic | aspartics | aspartics | FALSE | 2.0899 | 0.32226 | 7.0383 | 5.5135 | -1.6057 | -31.4525
4899 | aspartic | aspartics | aspartics | FALSE | 2.0967 | -0.15364 | 5.8319 | 6.099 | -4.3605 | -34.4576
4910 | aspartic | aspartics | aspartics | FALSE | 1.8692 | 0.1155 | 6.5142 | 5.3921 | -4.1323 | -34.2086
4911 | aspartic-0.1 mg | aspartics | aspartics | FALSE | 0.52126 | 0.36817 | 7.1547 | 1.6167 | -3.5124 | -33.5325
[5 empty] | 0 | 0 | 0 | 0 | 0 | 0
[5 empty] | 0 | 0 | 0 | 0 | 0 | 0
4870 | MT | (none) | blanks | FALSE | 3.6258 | 1.915 | 11.0761 | 2.0512 | 2.3957 | -27.0875
4871 | MT | (none) | blanks | FALSE | 0.10402 | -11.0689 | -21.839 | 0.47504 | 2.1909 | -27.3108
4872 | MT | (none) | blanks | FALSE | 0.098846 | -6.8099 | -11.0422 | 0.044486 | -4.6571 | -34.7811
4873 |  | (none) | blanks | FALSE
4874 | MT | (none) | blanks | FALSE | 0.1071 | -8.7809 | -16.0389 | 0.035907 | -2.277 | -32.1848
4875 | MT | (none) | blanks | FALSE | 0.095929 | -7.3067 | -12.3016 | 0.029889 | -7.0974 | -37.4432
4876 | MT | (none) | blanks | FALSE | 0.093706 | -8.0699 | -14.2363 | 0.028482 | -3.0638 | -33.043
4898 | MT | (Blank) | blanks | FALSE | 0.093434 | -8.4774 |  | 0.057841 | -0.88144
4909 | MT | (Blank) | blanks | FALSE | 0.093601 | -2.1643 |  | 0.078615 | -2.7454
4918 | MT | (Blank) | blanks | FALSE | 0.14036 | -10.817 |  | 0.033602 | -33.462
4919 | MT | (Blank) | blanks | FALSE | 0.091978 | -5.0254 |  | 0.028707 | -2.42
[5 empty] | 0 | 0 | 0 | 0 | 0 | 0
[5 empty] | 0 | 0 | 0 | 0 | 0 | 0
4914 | moran-low | Moran_LOW | moran-low | FALSE | 0.21651 | -6.6349 | -10.5984 | 0.83432 | 15.3819 | -12.9211
4915 | moran-low | Moran_LOW | moran-low | FALSE | 0.12653 | -7.1899 | -12.0055 | 0.58217 | 16.508 | -11.6927
4920 | moran-low | Moran_LOW | moran-low | FALSE | 0.11004 | -5.3385 | -7.3121 | 6.2757 | 15.6193 | -12.6622
[5 empty] | 0 | 0 | 0 | 0 | 0 | 0
[5 empty] | 0 | 0 | 0 | 0 | 0 | 0
4916 | moran-med | Moran_MED | moran-med | FALSE | 0.13344 | 28.9039 | 79.4949 | 0.63808 | 43.1379 | 17.3571
4917 | moran-med | Moran_MED | moran-med | FALSE | 0.14925 | 26.6354 | 73.7441 | 0.61009 | 43.0802 | 17.2942
4921 | moran-med | Moran_MED | moran-med | FALSE | 0.12193 | 22.8018 | 64.0256 | 8.9077 | 42.8406 | 17.0328
[5 empty] | 0 | 0 | 0 | 0 | 0 | 0
[5 empty] | 0 | 0 | 0 | 0 | 0 | 0
4883 | 105 | (none) | samples | FALSE | 0.14046 | -2.1543 | 0.76013 | 0.61454 | 3.1965 | -26.2138
4884 | 105 | (none) | samples | FALSE | 0.11475 | -0.17269 | 5.7836 | 0.59628 | 1.8534 | -27.679
4885 | 105 | (none) | samples | FALSE | 0.10527 | -0.20182 | 5.7098 | 0.63772 | 1.6159 | -27.9381
4886 | 92 | (none) | samples | FALSE | 0.11991 | -3.3307 | -2.2222 | 1.6086 | 1.5462 | -28.0142
4887 | 92 | (none) | samples | FALSE | 0.13859 | 1.5787 | 10.2234 | 1.8976 | 1.3805 | -28.1949
4888 | 92 | (none) | samples | FALSE | 0.15012 | -0.24785 | 5.5931 | 1.4566 | 1.0841 | -28.5183
4889 | 97 | (none) | samples | FALSE | 0.11017 | -2.6292 | -0.44369 | 0.81213 | 0.49474 | -29.1611
4890 | 97 | (none) | samples | FALSE | 0.12532 | -1.1841 | 3.2195 | 0.72915 | 1.1085 | -28.4916
4891 | 97 | (none) | samples | FALSE | 0.14279 | 1.3221 | 9.5731 | 0.80426 | 0.99496 | -28.6155
4892 | 102 | (none) | samples | FALSE | 0.12685 | -2.1365 | 0.80532 | 1.7092 | -0.78466 | -30.5568
4893 | 102 | (none) | samples | FALSE | 0.17246 | 1.5052 | 10.0372 | 1.7733 | -0.58306 | -30.3369
4894 | 102 | (none) | samples | FALSE | 0.11421 | -1.1953 | 3.1912 | 1.7149 | -1.336 | -31.1582
4895 | 135 | (none) | samples | FALSE | 0.12848 | -1.8614 | 1.5026 | 0.99049 | 10.0022 | -18.7897
4896 | 135 | (none) | samples | FALSE | 0.17534 | 1.7387 | 10.6291 | 1.1187 | 9.9588 | -18.837
4897 | 135 | (none) | samples | FALSE | 0.10754 | -0.3353 | 5.3714 | 1.368 | 9.0764 | -19.7996
4900 | 124 | (none) | samples | FALSE | 0.15544 | 2.0133 | 11.3254 | 1.1064 | 0.1826 | -29.5016
4901 | 124 | (none) | samples | FALSE | 0.1179 | 0.66625 | 7.9104 | 1.0116 | 0.35119 | -29.3177
4902 | 124 | (none) | samples | FALSE | 0.17764 | 0.91692 | 8.5459 | 1.0418 | 0.25925 | -29.418
4903 | 129 | (none) | samples | FALSE | 0.79395 | -0.16635 | 5.7997 | 14.905 | 0.32178 | -29.3498
4904 | 129 | (none) | samples | FALSE | 0.91422 | -0.07244 | 6.0378 | 16.1352 | 0.28244 | -29.3927
4905 | 129 | (none) | samples | FALSE | 0.70953 | -0.12722 | 5.8989 | 13.7057 | 0.22382 | -29.4567
4906 | 132 | (none) | samples | FALSE | 0.11082 | -6.4576 | -10.1491 | 0.55874 | -2.2907 | -32.1997
4907 | 132 | (none) | samples | FALSE | 0.11132 | -7.3149 | -12.3224 | 0.55867 | -2.4847 | -32.4113
4908 | 132 | (none) | samples | FALSE | 0.11559 | -1.7819 | 1.7041 | 0.55357 | -2.3568 | -32.2718
[5 empty] | 0 | 0 | 0 | 0 | 0 | 0
[5 empty] | 0 | 0 | 0 | 0 | 0 | 0

## Calibration
Calibration
Group | Description
C1 | All Standards
runin [4877] |  | runin [4878] |  | runin [4879] |  | aspartic [4880] |  | aspartic [4881] |  | aspartic [4882] |  | aspartic [4899] |  | aspartic [4910] |  | aspartic-0.1 mg [4911] |  | moran-low [4914] |  | moran-low [4915] |  | moran-med [4916] |  | moran-med [4917] |  | moran-low [4920] |  | moran-med [4921]
Expected | Measured | Expected | Measured | Expected | Measured | Expected | Measured | Expected | Measured | Expected | Measured | Expected | Measured | Expected | Measured | Expected | Measured | Expected | Measured | Expected | Measured | Expected | Measured | Expected | Measured | Expected | Measured | Expected | Measured
-33.55 | -3.6 | -33.55 | -3.6543 | -33.55 | -3.2898 | -33.55 | -2.9872 | -33.55 | -2.3116 | -33.55 | -1.6057 | -33.55 | -4.3605 | -33.55 | -4.1323 | -33.55 | -3.5124 | -11.09 | 15.3819 | -11.09 | 16.508 | 16.73 | 43.1379 | 16.73 | 43.0802 | -11.09 | 15.6193 | 16.73 | 42.8406
Summary
Label | Gradient | Constant | R Squared
δ¹³C | 1.0909 | -29.7008 | 0.99749
Group | Description
C1 | All Standards
runin [4877] |  | runin [4878] |  | runin [4879] |  | aspartic [4880] |  | aspartic [4881] |  | aspartic [4882] |  | aspartic [4899] |  | aspartic [4910] |  | aspartic-0.1 mg [4911] |  | moran-low [4914] |  | moran-low [4915] |  | moran-med [4916] |  | moran-med [4917] |  | moran-low [4920] |  | moran-med [4921]
Expected | Measured | Expected | Measured | Expected | Measured | Expected | Measured | Expected | Measured | Expected | Measured | Expected | Measured | Expected | Measured | Expected | Measured | Expected | Measured | Expected | Measured | Expected | Measured | Expected | Measured | Expected | Measured | Expected | Measured
6.86 | 1.0209 | 6.86 | 0.99889 | 6.86 | 1.4168 | 6.86 | 1.2057 | 6.86 | -0.0091101 | 6.86 | 0.32226 | 6.86 | -0.15364 | 6.86 | 0.1155 | 6.86 | 0.36817 | -8.58 | -6.6349 | -8.58 | -7.1899 | 73.58 | 28.9039 | 73.58 | 26.6354 | -8.58 | -5.3385 | 73.58 | 22.8018
Summary
Label | Gradient | Constant | R Squared
δ¹⁵N | 2.5351 | 6.2214 | 0.9866

## MT (4870)
Task Report
Row Number | ArDB Sample Id | Sample Id | Id | Name | Method | Sample Type | Notes | Batch | Duration | Created Date | Start Date | Finish Date | System Description | Task List Name | EA Keyword | EA Method | EA Vial Number | EA Sample Weight | Dilution Type | S1 Tuning | S2 Tuning
|  |  | 4870 | MT | EA Analysis NC | (none) |  | 2022-12-19_RiverCorridor_S19S_redo | 0:14 | 2022-12-19 11:53 | 2022-12-19 16:13 | 2022-12-19 16:27 | BioGeoChem Precision | 2022-12-19-S19S_redo |  | 20mg150sIRMS_delay | 1 | 100 |  | High
N2
Peak Id | Retention Time | Width | Height (nA) | Area | 29/28 | 29/28 Raw (raw) | δ¹⁵N (Gas) | Std δ¹⁵N (Air) | B/S δ¹⁵N (Gas) | D/C δ¹⁵N (Gas) | δ¹⁵N (Air) | Std Diff δ¹⁵N (Air)
M1 | 0:01 | 0:00 | 4.1889 | 7.4924e-08 | 0.0073986 | 0 | 0
S1 | 0:04 | 0:02 | 3.6258 | 9.9482e-08 | 0.0074128 | 1.915 | 1.915 |  |  |  | 11.0761
CO2
Peak Id | Retention Time | Width | Height (nA) | Area | 45/44 | 45/44 Raw (raw) | 46/44 | 46/44 Raw (raw) | δ¹³C (Gas) | Std δ¹³C (VPDB) | B/S δ¹³C (Gas) | D/C δ¹³C (Gas) | δ¹³C (VPDB) | Std Diff δ¹³C (VPDB)
S1 | 0:08 | 0:02 | 2.0512 | 3.9561e-08 | 0.011819 | 1.9339 | 0.0040016 | -9.7796 | 2.3957 |  |  |  | -27.0875
M1 | 0:10 | 0:00 | 11.3953 | 2.036e-07 | 0.011796 | 0 | 0.0040411 | 0 | 0

## MT (4871)
Task Report
Row Number | ArDB Sample Id | Sample Id | Id | Name | Method | Sample Type | Notes | Batch | Duration | Created Date | Start Date | Finish Date | System Description | Task List Name | EA Keyword | EA Method | EA Vial Number | EA Sample Weight | Dilution Type | S1 Tuning | S2 Tuning
|  |  | 4871 | MT | EA Analysis NC | (none) |  | 2022-12-19_RiverCorridor_S19S_redo | 0:13 | 2022-12-19 13:37 | 2022-12-19 16:27 | 2022-12-19 16:41 | BioGeoChem Precision | 2022-12-19-S19S_redo |  | 20mg150sIRMS_delay | 2 | 100 |  | High
N2
Peak Id | Retention Time | Width | Height (nA) | Area | 29/28 | 29/28 Raw (raw) | δ¹⁵N (Gas) | Std δ¹⁵N (Air) | B/S δ¹⁵N (Gas) | D/C δ¹⁵N (Gas) | δ¹⁵N (Air) | Std Diff δ¹⁵N (Air)
M1 | 0:01 | 0:00 | 4.0643 | 7.2693e-08 | 0.0074031 | 0 | 0
S1 | 0:04 | 0:02 | 0.10402 | 4.1499e-09 | 0.0073212 | -11.0689 | -11.0689 |  |  |  | -21.839
CO2
Peak Id | Retention Time | Width | Height (nA) | Area | 45/44 | 45/44 Raw (raw) | 46/44 | 46/44 Raw (raw) | δ¹³C (Gas) | Std δ¹³C (VPDB) | B/S δ¹³C (Gas) | D/C δ¹³C (Gas) | δ¹³C (VPDB) | Std Diff δ¹³C (VPDB)
S1 | 0:08 | 0:02 | 0.47504 | 1.04e-08 | 0.011785 | 2.0419 | 0.0040367 | -0.32007 | 2.1909 |  |  |  | -27.3108
M1 | 0:10 | 0:00 | 11.4647 | 2.0466e-07 | 0.011761 | 0 | 0.004038 | 0 | 0

## MT (4872)
Task Report
Row Number | ArDB Sample Id | Sample Id | Id | Name | Method | Sample Type | Notes | Batch | Duration | Created Date | Start Date | Finish Date | System Description | Task List Name | EA Keyword | EA Method | EA Vial Number | EA Sample Weight | Dilution Type | S1 Tuning | S2 Tuning
|  |  | 4872 | MT | EA Analysis NC | (none) |  | 2022-12-19_RiverCorridor_S19S_redo | 0:13 | 2022-12-19 13:37 | 2022-12-19 16:41 | 2022-12-19 16:54 | BioGeoChem Precision | 2022-12-19-S19S_redo |  | 20mg150sIRMS_delay | 3 | 100 |  | High
N2
Peak Id | Retention Time | Width | Height (nA) | Area | 29/28 | 29/28 Raw (raw) | δ¹⁵N (Gas) | Std δ¹⁵N (Air) | B/S δ¹⁵N (Gas) | D/C δ¹⁵N (Gas) | δ¹⁵N (Air) | Std Diff δ¹⁵N (Air)
M1 | 0:01 | 0:00 | 4.0947 | 7.3233e-08 | 0.0073958 | 0 | 0
S1 | 0:04 | 0:02 | 0.098846 | 3.8709e-09 | 0.0073455 | -6.8099 | -6.8099 |  |  |  | -11.0422
CO2
Peak Id | Retention Time | Width | Height (nA) | Area | 45/44 | 45/44 Raw (raw) | 46/44 | 46/44 Raw (raw) | δ¹³C (Gas) | Std δ¹³C (VPDB) | B/S δ¹³C (Gas) | D/C δ¹³C (Gas) | δ¹³C (VPDB) | Std Diff δ¹³C (VPDB)
S1 | 0:08 | 0:02 | 0.044486 | 1.2839e-09 | 0.011707 | -4.6066 | 0.0040059 | -7.7225 | -4.6571 |  |  |  | -34.7811
M1 | 0:10 | 0:00 | 11.5064 | 2.054e-07 | 0.011762 | 0 | 0.0040371 | 0 | 0

## (4873)
Task Report
Row Number | ArDB Sample Id | Sample Id | Id | Name | Method | Sample Type | Notes | Batch | Duration | Created Date | Start Date | Finish Date | System Description | Task List Name
|  |  | 4873 |  | Background Scan | (none) |  | 2022-12-19_RiverCorridor_S19S_redo | 0:02 | 2022-12-19 13:38 | 2022-12-19 16:54 | 2022-12-19 16:56 | BioGeoChem Precision | 2022-12-19-S19S_redo

## MT (4874)
Task Report
Row Number | ArDB Sample Id | Sample Id | Id | Name | Method | Sample Type | Notes | Batch | Duration | Created Date | Start Date | Finish Date | System Description | Task List Name | EA Keyword | EA Method | EA Vial Number | EA Sample Weight | Dilution Type | S1 Tuning | S2 Tuning
|  |  | 4874 | MT | EA Analysis NC | (none) |  | 2022-12-19_RiverCorridor_S19S_redo | 0:13 | 2022-12-19 13:37 | 2022-12-19 16:56 | 2022-12-19 17:09 | BioGeoChem Precision | 2022-12-19-S19S_redo |  | 20mg150sIRMS_delay | 4 | 100 |  | High
N2
Peak Id | Retention Time | Width | Height (nA) | Area | 29/28 | 29/28 Raw (raw) | δ¹⁵N (Gas) | Std δ¹⁵N (Air) | B/S δ¹⁵N (Gas) | D/C δ¹⁵N (Gas) | δ¹⁵N (Air) | Std Diff δ¹⁵N (Air)
M1 | 0:01 | 0:00 | 4.1165 | 7.3653e-08 | 0.0073824 | 0 | 0
S1 | 0:04 | 0:02 | 0.1071 | 4.3749e-09 | 0.0073176 | -8.7809 | -8.7809 |  |  |  | -16.0389
CO2
Peak Id | Retention Time | Width | Height (nA) | Area | 45/44 | 45/44 Raw (raw) | 46/44 | 46/44 Raw (raw) | δ¹³C (Gas) | Std δ¹³C (VPDB) | B/S δ¹³C (Gas) | D/C δ¹³C (Gas) | δ¹³C (VPDB) | Std Diff δ¹³C (VPDB)
S1 | 0:08 | 0:02 | 0.035907 | 1.01e-09 | 0.011765 | -3.051 | 0.0039216 | -28.9762 | -2.277 |  |  |  | -32.1848
M1 | 0:10 | 0:00 | 11.5537 | 2.0625e-07 | 0.011801 | 0 | 0.0040386 | 0 | 0

## MT (4875)
Task Report
Row Number | ArDB Sample Id | Sample Id | Id | Name | Method | Sample Type | Notes | Batch | Duration | Created Date | Start Date | Finish Date | System Description | Task List Name | EA Keyword | EA Method | EA Vial Number | EA Sample Weight | Dilution Type | S1 Tuning | S2 Tuning
|  |  | 4875 | MT | EA Analysis NC | (none) |  | 2022-12-19_RiverCorridor_S19S_redo | 0:13 | 2022-12-19 13:39 | 2022-12-19 17:09 | 2022-12-19 17:22 | BioGeoChem Precision | 2022-12-19-S19S_redo |  | 20mg150sIRMS_delay | 5 | 100 |  | High
N2
Peak Id | Retention Time | Width | Height (nA) | Area | 29/28 | 29/28 Raw (raw) | δ¹⁵N (Gas) | Std δ¹⁵N (Air) | B/S δ¹⁵N (Gas) | D/C δ¹⁵N (Gas) | δ¹⁵N (Air) | Std Diff δ¹⁵N (Air)
M1 | 0:01 | 0:00 | 4.1214 | 7.3752e-08 | 0.0074075 | 0 | 0
S1 | 0:04 | 0:02 | 0.095929 | 3.7475e-09 | 0.0073533 | -7.3067 | -7.3067 |  |  |  | -12.3016
CO2
Peak Id | Retention Time | Width | Height (nA) | Area | 45/44 | 45/44 Raw (raw) | 46/44 | 46/44 Raw (raw) | δ¹³C (Gas) | Std δ¹³C (VPDB) | B/S δ¹³C (Gas) | D/C δ¹³C (Gas) | δ¹³C (VPDB) | Std Diff δ¹³C (VPDB)
S1 | 0:08 | 0:02 | 0.029889 | 8.1872e-10 | 0.011723 | -7.0331 | 0.003992 | -12.1671 | -7.0974 |  |  |  | -37.4432
M1 | 0:10 | 0:00 | 11.5817 | 2.0684e-07 | 0.011806 | 0 | 0.0040411 | 0 | 0

## MT (4876)
Task Report
Row Number | ArDB Sample Id | Sample Id | Id | Name | Method | Sample Type | Notes | Batch | Duration | Created Date | Start Date | Finish Date | System Description | Task List Name | EA Keyword | EA Method | EA Vial Number | EA Sample Weight | Dilution Type | S1 Tuning | S2 Tuning
|  |  | 4876 | MT | EA Analysis NC | (none) |  | 2022-12-19_RiverCorridor_S19S_redo | 0:13 | 2022-12-19 13:39 | 2022-12-19 17:22 | 2022-12-19 17:35 | BioGeoChem Precision | 2022-12-19-S19S_redo |  | 20mg150sIRMS_delay | 6 | 100 |  | High
N2
Peak Id | Retention Time | Width | Height (nA) | Area | 29/28 | 29/28 Raw (raw) | δ¹⁵N (Gas) | Std δ¹⁵N (Air) | B/S δ¹⁵N (Gas) | D/C δ¹⁵N (Gas) | δ¹⁵N (Air) | Std Diff δ¹⁵N (Air)
M1 | 0:01 | 0:00 | 4.1398 | 7.4082e-08 | 0.0074098 | 0 | 0
S1 | 0:04 | 0:02 | 0.093706 | 3.6633e-09 | 0.00735 | -8.0699 | -8.0699 |  |  |  | -14.2363
CO2
Peak Id | Retention Time | Width | Height (nA) | Area | 45/44 | 45/44 Raw (raw) | 46/44 | 46/44 Raw (raw) | δ¹³C (Gas) | Std δ¹³C (VPDB) | B/S δ¹³C (Gas) | D/C δ¹³C (Gas) | δ¹³C (VPDB) | Std Diff δ¹³C (VPDB)
S1 | 0:08 | 0:02 | 0.028482 | 7.9036e-10 | 0.011756 | -3.313 | 0.0039856 | -13.9904 | -3.0638 |  |  |  | -33.043
M1 | 0:10 | 0:00 | 11.6034 | 2.0713e-07 | 0.011795 | 0 | 0.0040422 | 0 | 0

## runin (4877)
Task Report
Row Number | ArDB Sample Id | Sample Id | Id | Name | Method | Sample Type | Notes | Batch | Duration | Created Date | Start Date | Finish Date | System Description | Task List Name | EA Keyword | EA Method | EA Vial Number | EA Sample Weight | Dilution Type | S1 Tuning | S2 Tuning
|  |  | 4877 | runin | EA Analysis NC | aspartics |  | 2022-12-19_RiverCorridor_S19S_redo | 0:13 | 2022-12-19 13:39 | 2022-12-19 17:57 | 2022-12-19 18:10 | BioGeoChem Precision | 2022-12-19-S19S_redo |  | 20mg150sIRMS_delay | 7 | 0.512 | 30% CO2 | High
N2
Peak Id | Retention Time | Width | Height (nA) | Area | 29/28 | 29/28 Raw (raw) | δ¹⁵N (Gas) | Std δ¹⁵N (Air) | B/S δ¹⁵N (Gas) | D/C δ¹⁵N (Gas) | δ¹⁵N (Air) | Std Diff δ¹⁵N (Air)
M1 | 0:01 | 0:00 | 4.1642 | 7.4258e-08 | 0.0074076 | 0 | 0
S1 | 0:04 | 0:02 | 2.2691 | 6.4756e-08 | 0.0074151 | 1.0209 | 1.0209 | 6.86 |  |  | 8.8093 | -1.9493
CO2
Peak Id | Retention Time | Width | Height (nA) | Area | 45/44 | 45/44 Raw (raw) | 46/44 | 46/44 Raw (raw) | δ¹³C (Gas) | Std δ¹³C (VPDB) | B/S δ¹³C (Gas) | D/C δ¹³C (Gas) | δ¹³C (VPDB) | Std Diff δ¹³C (VPDB)
S1 | 0:08 | 0:01 | 5.9893 | 1.0148e-07 | 0.011754 | -3.7349 | 0.0039948 | -11.4582 | -3.6 | -33.55 |  |  | -33.628 | 0.077983
M1 | 0:10 | 0:00 | 11.6418 | 2.0786e-07 | 0.011798 | 0 | 0.0040411 | 0 | 0

## runin (4878)
Task Report
Row Number | ArDB Sample Id | Sample Id | Id | Name | Method | Sample Type | Notes | Batch | Duration | Created Date | Start Date | Finish Date | System Description | Task List Name | EA Keyword | EA Method | EA Vial Number | EA Sample Weight | Dilution Type | S1 Tuning | S2 Tuning
|  |  | 4878 | runin | EA Analysis NC | aspartics |  | 2022-12-19_RiverCorridor_S19S_redo | 0:13 | 2022-12-19 13:39 | 2022-12-19 18:10 | 2022-12-19 18:23 | BioGeoChem Precision | 2022-12-19-S19S_redo |  | 20mg150sIRMS_delay | 8 | 0.516 | 30% CO2 | High
N2
Peak Id | Retention Time | Width | Height (nA) | Area | 29/28 | 29/28 Raw (raw) | δ¹⁵N (Gas) | Std δ¹⁵N (Air) | B/S δ¹⁵N (Gas) | D/C δ¹⁵N (Gas) | δ¹⁵N (Air) | Std Diff δ¹⁵N (Air)
M1 | 0:01 | 0:00 | 4.1601 | 7.4412e-08 | 0.0074092 | 0 | 0
S1 | 0:04 | 0:02 | 2.2967 | 6.2079e-08 | 0.0074167 | 0.99889 | 0.99889 | 6.86 |  |  | 8.7537 | -1.8937
CO2
Peak Id | Retention Time | Width | Height (nA) | Area | 45/44 | 45/44 Raw (raw) | 46/44 | 46/44 Raw (raw) | δ¹³C (Gas) | Std δ¹³C (VPDB) | B/S δ¹³C (Gas) | D/C δ¹³C (Gas) | δ¹³C (VPDB) | Std Diff δ¹³C (VPDB)
S1 | 0:08 | 0:01 | 5.8123 | 1.0049e-07 | 0.011714 | -3.8199 | 0.0039833 | -12.5329 | -3.6543 | -33.55 |  |  | -33.6872 | 0.13722
M1 | 0:10 | 0:00 | 11.6301 | 2.0764e-07 | 0.011759 | 0 | 0.0040338 | 0 | 0

## runin (4879)
Task Report
Row Number | ArDB Sample Id | Sample Id | Id | Name | Method | Sample Type | Notes | Batch | Duration | Created Date | Start Date | Finish Date | System Description | Task List Name | EA Keyword | EA Method | EA Vial Number | EA Sample Weight | Dilution Type | S1 Tuning | S2 Tuning
|  |  | 4879 | runin | EA Analysis NC | aspartics |  | 2022-12-19_RiverCorridor_S19S_redo | 0:13 | 2022-12-19 13:39 | 2022-12-19 18:23 | 2022-12-19 18:36 | BioGeoChem Precision | 2022-12-19-S19S_redo |  | 20mg150sIRMS_delay | 9 | 0.55 | 30% CO2 | High
N2
Peak Id | Retention Time | Width | Height (nA) | Area | 29/28 | 29/28 Raw (raw) | δ¹⁵N (Gas) | Std δ¹⁵N (Air) | B/S δ¹⁵N (Gas) | D/C δ¹⁵N (Gas) | δ¹⁵N (Air) | Std Diff δ¹⁵N (Air)
M1 | 0:01 | 0:00 | 4.1513 | 7.4004e-08 | 0.0073648 | 0 | 0
S1 | 0:04 | 0:02 | 2.0657 | 5.5631e-08 | 0.0073752 | 1.4168 | 1.4168 | 6.86 |  |  | 9.813 | -2.953
CO2
Peak Id | Retention Time | Width | Height (nA) | Area | 45/44 | 45/44 Raw (raw) | 46/44 | 46/44 Raw (raw) | δ¹³C (Gas) | Std δ¹³C (VPDB) | B/S δ¹³C (Gas) | D/C δ¹³C (Gas) | δ¹³C (VPDB) | Std Diff δ¹³C (VPDB)
S1 | 0:08 | 0:01 | 5.6084 | 9.8164e-08 | 0.011741 | -3.4816 | 0.0039827 | -12.6314 | -3.2898 | -33.55 |  |  | -33.2896 | -0.26037
M1 | 0:10 | 0:00 | 11.614 | 2.0743e-07 | 0.011782 | 0 | 0.0040337 | 0 | 0

## aspartic (4880)
Task Report
Row Number | ArDB Sample Id | Sample Id | Id | Name | Method | Sample Type | Notes | Batch | Duration | Created Date | Start Date | Finish Date | System Description | Task List Name | EA Keyword | EA Method | EA Vial Number | EA Sample Weight | Dilution Type | S1 Tuning | S2 Tuning
|  |  | 4880 | aspartic | EA Analysis NC | aspartics |  | 2022-12-19_RiverCorridor_S19S_redo | 0:13 | 2022-12-19 13:39 | 2022-12-19 18:36 | 2022-12-19 18:50 | BioGeoChem Precision | 2022-12-19-S19S_redo |  | 20mg150sIRMS_delay | 10 | 0.503 | 30% CO2 | High
N2
Peak Id | Retention Time | Width | Height (nA) | Area | 29/28 | 29/28 Raw (raw) | δ¹⁵N (Gas) | Std δ¹⁵N (Air) | B/S δ¹⁵N (Gas) | D/C δ¹⁵N (Gas) | δ¹⁵N (Air) | Std Diff δ¹⁵N (Air)
M1 | 0:01 | 0:00 | 4.1456 | 7.4176e-08 | 0.0073748 | 0 | 0
S1 | 0:04 | 0:02 | 2.2596 | 6.4407e-08 | 0.0073837 | 1.2057 | 1.2057 | 6.86 |  |  | 9.278 | -2.418
CO2
Peak Id | Retention Time | Width | Height (nA) | Area | 45/44 | 45/44 Raw (raw) | 46/44 | 46/44 Raw (raw) | δ¹³C (Gas) | Std δ¹³C (VPDB) | B/S δ¹³C (Gas) | D/C δ¹³C (Gas) | δ¹³C (VPDB) | Std Diff δ¹³C (VPDB)
S1 | 0:08 | 0:01 | 5.3803 | 9.3934e-08 | 0.011723 | -3.1908 | 0.0039812 | -12.3996 | -2.9872 | -33.55 |  |  | -32.9595 | -0.59051
M1 | 0:10 | 0:00 | 11.5684 | 2.0646e-07 | 0.01176 | 0 | 0.0040311 | 0 | 0

## aspartic (4881)
Task Report
Row Number | ArDB Sample Id | Sample Id | Id | Name | Method | Sample Type | Notes | Batch | Duration | Created Date | Start Date | Finish Date | System Description | Task List Name | EA Keyword | EA Method | EA Vial Number | EA Sample Weight | Dilution Type | S1 Tuning | S2 Tuning
|  |  | 4881 | aspartic | EA Analysis NC | aspartics |  | 2022-12-19_RiverCorridor_S19S_redo | 0:13 | 2022-12-19 13:39 | 2022-12-19 18:50 | 2022-12-19 19:03 | BioGeoChem Precision | 2022-12-19-S19S_redo |  | 20mg150sIRMS_delay | 11 | 0.482 | 30% CO2 | High
N2
Peak Id | Retention Time | Width | Height (nA) | Area | 29/28 | 29/28 Raw (raw) | δ¹⁵N (Gas) | Std δ¹⁵N (Air) | B/S δ¹⁵N (Gas) | D/C δ¹⁵N (Gas) | δ¹⁵N (Air) | Std Diff δ¹⁵N (Air)
M1 | 0:01 | 0:00 | 4.136 | 7.3987e-08 | 0.0073595 | 0 | 0
S1 | 0:04 | 0:02 | 2.0676 | 5.8725e-08 | 0.0073594 | -0.0091101 | -0.0091101 | 6.86 |  |  | 6.1983 | 0.66169
CO2
Peak Id | Retention Time | Width | Height (nA) | Area | 45/44 | 45/44 Raw (raw) | 46/44 | 46/44 Raw (raw) | δ¹³C (Gas) | Std δ¹³C (VPDB) | B/S δ¹³C (Gas) | D/C δ¹³C (Gas) | δ¹³C (VPDB) | Std Diff δ¹³C (VPDB)
S1 | 0:08 | 0:01 | 5.6826 | 9.7349e-08 | 0.011755 | -2.5385 | 0.0039863 | -11.7815 | -2.3116 | -33.55 |  |  | -32.2225 | -1.3275
M1 | 0:10 | 0:00 | 11.5672 | 2.0658e-07 | 0.011785 | 0 | 0.0040339 | 0 | 0

## aspartic (4882)
Task Report
Row Number | ArDB Sample Id | Sample Id | Id | Name | Method | Sample Type | Notes | Batch | Duration | Created Date | Start Date | Finish Date | System Description | Task List Name | EA Keyword | EA Method | EA Vial Number | EA Sample Weight | Dilution Type | S1 Tuning | S2 Tuning
|  |  | 4882 | aspartic | EA Analysis NC | aspartics |  | 2022-12-19_RiverCorridor_S19S_redo | 0:13 | 2022-12-19 13:40 | 2022-12-19 19:03 | 2022-12-19 19:16 | BioGeoChem Precision | 2022-12-19-S19S_redo |  | 20mg150sIRMS_delay | 12 | 0.495 | 30% CO2 | High
N2
Peak Id | Retention Time | Width | Height (nA) | Area | 29/28 | 29/28 Raw (raw) | δ¹⁵N (Gas) | Std δ¹⁵N (Air) | B/S δ¹⁵N (Gas) | D/C δ¹⁵N (Gas) | δ¹⁵N (Air) | Std Diff δ¹⁵N (Air)
M1 | 0:01 | 0:00 | 4.1431 | 7.4095e-08 | 0.0074063 | 0 | 0
S1 | 0:04 | 0:01 | 2.0899 | 5.257e-08 | 0.0074087 | 0.32226 | 0.32226 | 6.86 |  |  | 7.0383 | -0.17834
CO2
Peak Id | Retention Time | Width | Height (nA) | Area | 45/44 | 45/44 Raw (raw) | 46/44 | 46/44 Raw (raw) | δ¹³C (Gas) | Std δ¹³C (VPDB) | B/S δ¹³C (Gas) | D/C δ¹³C (Gas) | δ¹³C (VPDB) | Std Diff δ¹³C (VPDB)
S1 | 0:08 | 0:01 | 5.5135 | 9.4586e-08 | 0.011728 | -1.8499 | 0.0039825 | -10.9147 | -1.6057 | -33.55 |  |  | -31.4525 | -2.0975
M1 | 0:10 | 0:00 | 11.5533 | 2.0628e-07 | 0.011749 | 0 | 0.0040265 | 0 | 0

## 105 (4883)
Task Report
Row Number | ArDB Sample Id | Sample Id | Id | Name | Method | Sample Type | Notes | Batch | Duration | Created Date | Start Date | Finish Date | System Description | Task List Name | EA Keyword | EA Method | EA Vial Number | EA Sample Weight | Dilution Type | S1 Tuning | S2 Tuning
|  |  | 4883 | 105 | EA Analysis NC | (none) |  | 2022-12-19_RiverCorridor_S19S_redo | 0:13 | 2022-12-19 14:26 | 2022-12-19 19:55 | 2022-12-19 20:08 | BioGeoChem Precision | 2022-12-19-S19S_redo |  | 20mg150sIRMS_delay | 13 | 9.855 | 30% CO2 | High
N2
Peak Id | Retention Time | Width | Height (nA) | Area | 29/28 | 29/28 Raw (raw) | δ¹⁵N (Gas) | Std δ¹⁵N (Air) | B/S δ¹⁵N (Gas) | D/C δ¹⁵N (Gas) | δ¹⁵N (Air) | Std Diff δ¹⁵N (Air)
M1 | 0:01 | 0:00 | 4.1446 | 7.387e-08 | 0.0073683 | 0 | 0
S1 | 0:04 | 0:03 | 0.14046 | 6.4471e-09 | 0.0073524 | -2.1543 | -2.1543 |  |  |  | 0.76013
CO2
Peak Id | Retention Time | Width | Height (nA) | Area | 45/44 | 45/44 Raw (raw) | 46/44 | 46/44 Raw (raw) | δ¹³C (Gas) | Std δ¹³C (VPDB) | B/S δ¹³C (Gas) | D/C δ¹³C (Gas) | δ¹³C (VPDB) | Std Diff δ¹³C (VPDB)
S1 | 0:08 | 0:01 | 0.61454 | 9.6032e-09 | 0.011816 | 2.7009 | 0.0039924 | -9.2464 | 3.1965 |  |  |  | -26.2138
M1 | 0:10 | 0:00 | 11.5835 | 2.0667e-07 | 0.011784 | 0 | 0.0040296 | 0 | 0

## 105 (4884)
Task Report
Row Number | ArDB Sample Id | Sample Id | Id | Name | Method | Sample Type | Notes | Batch | Duration | Created Date | Start Date | Finish Date | System Description | Task List Name | EA Keyword | EA Method | EA Vial Number | EA Sample Weight | Dilution Type | S1 Tuning | S2 Tuning
|  |  | 4884 | 105 | EA Analysis NC | (none) |  | 2022-12-19_RiverCorridor_S19S_redo | 0:13 | 2022-12-19 14:54 | 2022-12-19 20:08 | 2022-12-19 20:21 | BioGeoChem Precision | 2022-12-19-S19S_redo |  | 20mg150sIRMS_delay | 14 | 10.098 | 30% CO2 | High
N2
Peak Id | Retention Time | Width | Height (nA) | Area | 29/28 | 29/28 Raw (raw) | δ¹⁵N (Gas) | Std δ¹⁵N (Air) | B/S δ¹⁵N (Gas) | D/C δ¹⁵N (Gas) | δ¹⁵N (Air) | Std Diff δ¹⁵N (Air)
M1 | 0:01 | 0:00 | 4.1447 | 7.3898e-08 | 0.0074082 | 0 | 0
S1 | 0:04 | 0:02 | 0.11475 | 5.2501e-09 | 0.007407 | -0.17269 | -0.17269 |  |  |  | 5.7836
CO2
Peak Id | Retention Time | Width | Height (nA) | Area | 45/44 | 45/44 Raw (raw) | 46/44 | 46/44 Raw (raw) | δ¹³C (Gas) | Std δ¹³C (VPDB) | B/S δ¹³C (Gas) | D/C δ¹³C (Gas) | δ¹³C (VPDB) | Std Diff δ¹³C (VPDB)
S1 | 0:08 | 0:01 | 0.59628 | 9.745e-09 | 0.011806 | 1.4377 | 0.0039945 | -9.4098 | 1.8534 |  |  |  | -27.679
M1 | 0:10 | 0:00 | 11.5732 | 2.0652e-07 | 0.011789 | 0 | 0.0040324 | 0 | 0

## 105 (4885)
Task Report
Row Number | ArDB Sample Id | Sample Id | Id | Name | Method | Sample Type | Notes | Batch | Duration | Created Date | Start Date | Finish Date | System Description | Task List Name | EA Keyword | EA Method | EA Vial Number | EA Sample Weight | Dilution Type | S1 Tuning | S2 Tuning
|  |  | 4885 | 105 | EA Analysis NC | (none) |  | 2022-12-19_RiverCorridor_S19S_redo | 0:13 | 2022-12-19 14:54 | 2022-12-19 20:21 | 2022-12-19 20:35 | BioGeoChem Precision | 2022-12-19-S19S_redo |  | 20mg150sIRMS_delay | 15 | 10.483 | 30% CO2 | High
N2
Peak Id | Retention Time | Width | Height (nA) | Area | 29/28 | 29/28 Raw (raw) | δ¹⁵N (Gas) | Std δ¹⁵N (Air) | B/S δ¹⁵N (Gas) | D/C δ¹⁵N (Gas) | δ¹⁵N (Air) | Std Diff δ¹⁵N (Air)
M1 | 0:01 | 0:00 | 4.1396 | 7.4071e-08 | 0.0073964 | 0 | 0
S1 | 0:04 | 0:02 | 0.10527 | 4.5606e-09 | 0.0073949 | -0.20182 | -0.20182 |  |  |  | 5.7098
CO2
Peak Id | Retention Time | Width | Height (nA) | Area | 45/44 | 45/44 Raw (raw) | 46/44 | 46/44 Raw (raw) | δ¹³C (Gas) | Std δ¹³C (VPDB) | B/S δ¹³C (Gas) | D/C δ¹³C (Gas) | δ¹³C (VPDB) | Std Diff δ¹³C (VPDB)
S1 | 0:08 | 0:01 | 0.63772 | 1.0396e-08 | 0.01177 | 1.2241 | 0.0039962 | -9.1297 | 1.6159 |  |  |  | -27.9381
M1 | 0:10 | 0:00 | 11.6008 | 2.0711e-07 | 0.011755 | 0 | 0.004033 | 0 | 0

## 92 (4886)
Task Report
Row Number | ArDB Sample Id | Sample Id | Id | Name | Method | Sample Type | Notes | Batch | Duration | Created Date | Start Date | Finish Date | System Description | Task List Name | EA Keyword | EA Method | EA Vial Number | EA Sample Weight | Dilution Type | S1 Tuning | S2 Tuning
|  |  | 4886 | 92 | EA Analysis NC | (none) |  | 2022-12-19_RiverCorridor_S19S_redo | 0:13 | 2022-12-19 14:54 | 2022-12-19 20:35 | 2022-12-19 20:48 | BioGeoChem Precision | 2022-12-19-S19S_redo |  | 20mg150sIRMS_delay | 16 | 10.106 | 30% CO2 | High
N2
Peak Id | Retention Time | Width | Height (nA) | Area | 29/28 | 29/28 Raw (raw) | δ¹⁵N (Gas) | Std δ¹⁵N (Air) | B/S δ¹⁵N (Gas) | D/C δ¹⁵N (Gas) | δ¹⁵N (Air) | Std Diff δ¹⁵N (Air)
M1 | 0:01 | 0:00 | 4.1427 | 7.4111e-08 | 0.0073995 | 0 | 0
S1 | 0:04 | 0:03 | 0.11991 | 5.9356e-09 | 0.0073748 | -3.3307 | -3.3307 |  |  |  | -2.2222
CO2
Peak Id | Retention Time | Width | Height (nA) | Area | 45/44 | 45/44 Raw (raw) | 46/44 | 46/44 Raw (raw) | δ¹³C (Gas) | Std δ¹³C (VPDB) | B/S δ¹³C (Gas) | D/C δ¹³C (Gas) | δ¹³C (VPDB) | Std Diff δ¹³C (VPDB)
S1 | 0:08 | 0:01 | 1.6086 | 2.5962e-08 | 0.011765 | 1.1776 | 0.0039997 | -8.5361 | 1.5462 |  |  |  | -28.0142
M1 | 0:10 | 0:00 | 11.5894 | 2.0682e-07 | 0.011751 | 0 | 0.0040342 | 0 | 0

## 92 (4887)
Task Report
Row Number | ArDB Sample Id | Sample Id | Id | Name | Method | Sample Type | Notes | Batch | Duration | Created Date | Start Date | Finish Date | System Description | Task List Name | EA Keyword | EA Method | EA Vial Number | EA Sample Weight | Dilution Type | S1 Tuning | S2 Tuning
|  |  | 4887 | 92 | EA Analysis NC | (none) |  | 2022-12-19_RiverCorridor_S19S_redo | 0:13 | 2022-12-19 14:54 | 2022-12-19 20:48 | 2022-12-19 21:01 | BioGeoChem Precision | 2022-12-19-S19S_redo |  | 20mg150sIRMS_delay | 17 | 10.414 | 30% CO2 | High
N2
Peak Id | Retention Time | Width | Height (nA) | Area | 29/28 | 29/28 Raw (raw) | δ¹⁵N (Gas) | Std δ¹⁵N (Air) | B/S δ¹⁵N (Gas) | D/C δ¹⁵N (Gas) | δ¹⁵N (Air) | Std Diff δ¹⁵N (Air)
M1 | 0:01 | 0:00 | 4.1414 | 7.4103e-08 | 0.0073532 | 0 | 0
S1 | 0:04 | 0:03 | 0.13859 | 6.721e-09 | 0.0073648 | 1.5787 | 1.5787 |  |  |  | 10.2234
CO2
Peak Id | Retention Time | Width | Height (nA) | Area | 45/44 | 45/44 Raw (raw) | 46/44 | 46/44 Raw (raw) | δ¹³C (Gas) | Std δ¹³C (VPDB) | B/S δ¹³C (Gas) | D/C δ¹³C (Gas) | δ¹³C (VPDB) | Std Diff δ¹³C (VPDB)
S1 | 0:08 | 0:01 | 1.8976 | 3.0991e-08 | 0.011802 | 1.0518 | 0.0040058 | -7.6111 | 1.3805 |  |  |  | -28.1949
M1 | 0:10 | 0:00 | 11.5681 | 2.0652e-07 | 0.01179 | 0 | 0.0040365 | 0 | 0

## 92 (4888)
Task Report
Row Number | ArDB Sample Id | Sample Id | Id | Name | Method | Sample Type | Notes | Batch | Duration | Created Date | Start Date | Finish Date | System Description | Task List Name | EA Keyword | EA Method | EA Vial Number | EA Sample Weight | Dilution Type | S1 Tuning | S2 Tuning
|  |  | 4888 | 92 | EA Analysis NC | (none) |  | 2022-12-19_RiverCorridor_S19S_redo | 0:13 | 2022-12-19 14:54 | 2022-12-19 21:01 | 2022-12-19 21:14 | BioGeoChem Precision | 2022-12-19-S19S_redo |  | 20mg150sIRMS_delay | 18 | 9.928 | 30% CO2 | High
N2
Peak Id | Retention Time | Width | Height (nA) | Area | 29/28 | 29/28 Raw (raw) | δ¹⁵N (Gas) | Std δ¹⁵N (Air) | B/S δ¹⁵N (Gas) | D/C δ¹⁵N (Gas) | δ¹⁵N (Air) | Std Diff δ¹⁵N (Air)
M1 | 0:01 | 0:00 | 4.1374 | 7.4003e-08 | 0.0074057 | 0 | 0
S1 | 0:04 | 0:03 | 0.15012 | 6.8377e-09 | 0.0074039 | -0.24785 | -0.24785 |  |  |  | 5.5931
CO2
Peak Id | Retention Time | Width | Height (nA) | Area | 45/44 | 45/44 Raw (raw) | 46/44 | 46/44 Raw (raw) | δ¹³C (Gas) | Std δ¹³C (VPDB) | B/S δ¹³C (Gas) | D/C δ¹³C (Gas) | δ¹³C (VPDB) | Std Diff δ¹³C (VPDB)
S1 | 0:08 | 0:01 | 1.4566 | 2.3803e-08 | 0.011734 | 0.79735 | 0.0040067 | -6.8793 | 1.0841 |  |  |  | -28.5183
M1 | 0:10 | 0:00 | 11.5806 | 2.0739e-07 | 0.011725 | 0 | 0.0040344 | 0 | 0

## 97 (4889)
Task Report
Row Number | ArDB Sample Id | Sample Id | Id | Name | Method | Sample Type | Notes | Batch | Duration | Created Date | Start Date | Finish Date | System Description | Task List Name | EA Keyword | EA Method | EA Vial Number | EA Sample Weight | Dilution Type | S1 Tuning | S2 Tuning
|  |  | 4889 | 97 | EA Analysis NC | (none) |  | 2022-12-19_RiverCorridor_S19S_redo | 0:13 | 2022-12-19 14:54 | 2022-12-19 21:14 | 2022-12-19 21:27 | BioGeoChem Precision | 2022-12-19-S19S_redo |  | 20mg150sIRMS_delay | 19 | 10.43 | 30% CO2 | High
N2
Peak Id | Retention Time | Width | Height (nA) | Area | 29/28 | 29/28 Raw (raw) | δ¹⁵N (Gas) | Std δ¹⁵N (Air) | B/S δ¹⁵N (Gas) | D/C δ¹⁵N (Gas) | δ¹⁵N (Air) | Std Diff δ¹⁵N (Air)
M1 | 0:01 | 0:00 | 4.1336 | 7.3965e-08 | 0.0073776 | 0 | 0
S1 | 0:04 | 0:03 | 0.11017 | 4.813e-09 | 0.0073582 | -2.6292 | -2.6292 |  |  |  | -0.44369
CO2
Peak Id | Retention Time | Width | Height (nA) | Area | 45/44 | 45/44 Raw (raw) | 46/44 | 46/44 Raw (raw) | δ¹³C (Gas) | Std δ¹³C (VPDB) | B/S δ¹³C (Gas) | D/C δ¹³C (Gas) | δ¹³C (VPDB) | Std Diff δ¹³C (VPDB)
S1 | 0:08 | 0:01 | 0.81213 | 1.3185e-08 | 0.011764 | 0.26691 | 0.0040106 | -6.1993 | 0.49474 |  |  |  | -29.1611
M1 | 0:10 | 0:00 | 11.5571 | 2.0634e-07 | 0.011761 | 0 | 0.0040356 | 0 | 0

## 97 (4890)
Task Report
Row Number | ArDB Sample Id | Sample Id | Id | Name | Method | Sample Type | Notes | Batch | Duration | Created Date | Start Date | Finish Date | System Description | Task List Name | EA Keyword | EA Method | EA Vial Number | EA Sample Weight | Dilution Type | S1 Tuning | S2 Tuning
|  |  | 4890 | 97 | EA Analysis NC | (none) |  | 2022-12-19_RiverCorridor_S19S_redo | 0:13 | 2022-12-19 14:54 | 2022-12-19 21:27 | 2022-12-19 21:41 | BioGeoChem Precision | 2022-12-19-S19S_redo |  | 20mg150sIRMS_delay | 20 | 9.839 | 30% CO2 | High
N2
Peak Id | Retention Time | Width | Height (nA) | Area | 29/28 | 29/28 Raw (raw) | δ¹⁵N (Gas) | Std δ¹⁵N (Air) | B/S δ¹⁵N (Gas) | D/C δ¹⁵N (Gas) | δ¹⁵N (Air) | Std Diff δ¹⁵N (Air)
M1 | 0:01 | 0:00 | 4.1317 | 7.3938e-08 | 0.0073612 | 0 | 0
S1 | 0:04 | 0:02 | 0.12532 | 5.2571e-09 | 0.0073525 | -1.1841 | -1.1841 |  |  |  | 3.2195
CO2
Peak Id | Retention Time | Width | Height (nA) | Area | 45/44 | 45/44 Raw (raw) | 46/44 | 46/44 Raw (raw) | δ¹³C (Gas) | Std δ¹³C (VPDB) | B/S δ¹³C (Gas) | D/C δ¹³C (Gas) | δ¹³C (VPDB) | Std Diff δ¹³C (VPDB)
S1 | 0:08 | 0:01 | 0.72915 | 1.1873e-08 | 0.011769 | 0.87159 | 0.0040144 | -5.259 | 1.1085 |  |  |  | -28.4916
M1 | 0:10 | 0:00 | 11.5532 | 2.0623e-07 | 0.011759 | 0 | 0.0040356 | 0 | 0

## 97 (4891)
Task Report
Row Number | ArDB Sample Id | Sample Id | Id | Name | Method | Sample Type | Notes | Batch | Duration | Created Date | Start Date | Finish Date | System Description | Task List Name | EA Keyword | EA Method | EA Vial Number | EA Sample Weight | Dilution Type | S1 Tuning | S2 Tuning
|  |  | 4891 | 97 | EA Analysis NC | (none) |  | 2022-12-19_RiverCorridor_S19S_redo | 0:13 | 2022-12-19 14:54 | 2022-12-19 21:41 | 2022-12-19 21:54 | BioGeoChem Precision | 2022-12-19-S19S_redo |  | 20mg150sIRMS_delay | 21 | 10.447 | 30% CO2 | High
N2
Peak Id | Retention Time | Width | Height (nA) | Area | 29/28 | 29/28 Raw (raw) | δ¹⁵N (Gas) | Std δ¹⁵N (Air) | B/S δ¹⁵N (Gas) | D/C δ¹⁵N (Gas) | δ¹⁵N (Air) | Std Diff δ¹⁵N (Air)
M1 | 0:01 | 0:00 | 4.1343 | 7.3984e-08 | 0.0073597 | 0 | 0
S1 | 0:04 | 0:02 | 0.14279 | 5.9757e-09 | 0.0073695 | 1.3221 | 1.3221 |  |  |  | 9.5731
CO2
Peak Id | Retention Time | Width | Height (nA) | Area | 45/44 | 45/44 Raw (raw) | 46/44 | 46/44 Raw (raw) | δ¹³C (Gas) | Std δ¹³C (VPDB) | B/S δ¹³C (Gas) | D/C δ¹³C (Gas) | δ¹³C (VPDB) | Std Diff δ¹³C (VPDB)
S1 | 0:08 | 0:01 | 0.80426 | 1.2935e-08 | 0.011784 | 0.78882 | 0.0040181 | -4.5147 | 0.99496 |  |  |  | -28.6155
M1 | 0:10 | 0:00 | 11.5608 | 2.0637e-07 | 0.011775 | 0 | 0.0040363 | 0 | 0

## 102 (4892)
Task Report
Row Number | ArDB Sample Id | Sample Id | Id | Name | Method | Sample Type | Notes | Batch | Duration | Created Date | Start Date | Finish Date | System Description | Task List Name | EA Keyword | EA Method | EA Vial Number | EA Sample Weight | Dilution Type | S1 Tuning | S2 Tuning
|  |  | 4892 | 102 | EA Analysis NC | (none) |  | 2022-12-19_RiverCorridor_S19S_redo | 0:13 | 2022-12-19 14:54 | 2022-12-19 21:54 | 2022-12-19 22:07 | BioGeoChem Precision | 2022-12-19-S19S_redo |  | 20mg150sIRMS_delay | 22 | 9.877 | 30% CO2 | High
N2
Peak Id | Retention Time | Width | Height (nA) | Area | 29/28 | 29/28 Raw (raw) | δ¹⁵N (Gas) | Std δ¹⁵N (Air) | B/S δ¹⁵N (Gas) | D/C δ¹⁵N (Gas) | δ¹⁵N (Air) | Std Diff δ¹⁵N (Air)
M1 | 0:01 | 0:00 | 4.1296 | 7.3912e-08 | 0.0073612 | 0 | 0
S1 | 0:04 | 0:03 | 0.12685 | 6.4475e-09 | 0.0073455 | -2.1365 | -2.1365 |  |  |  | 0.80532
CO2
Peak Id | Retention Time | Width | Height (nA) | Area | 45/44 | 45/44 Raw (raw) | 46/44 | 46/44 Raw (raw) | δ¹³C (Gas) | Std δ¹³C (VPDB) | B/S δ¹³C (Gas) | D/C δ¹³C (Gas) | δ¹³C (VPDB) | Std Diff δ¹³C (VPDB)
S1 | 0:08 | 0:01 | 1.7092 | 2.836e-08 | 0.01174 | -0.86736 | 0.0040187 | -4.1791 | -0.78466 |  |  |  | -30.5568
M1 | 0:10 | 0:00 | 11.5404 | 2.0605e-07 | 0.01175 | 0 | 0.0040355 | 0 | 0

## 102 (4893)
Task Report
Row Number | ArDB Sample Id | Sample Id | Id | Name | Method | Sample Type | Notes | Batch | Duration | Created Date | Start Date | Finish Date | System Description | Task List Name | EA Keyword | EA Method | EA Vial Number | EA Sample Weight | Dilution Type | S1 Tuning | S2 Tuning
|  |  | 4893 | 102 | EA Analysis NC | (none) |  | 2022-12-19_RiverCorridor_S19S_redo | 0:13 | 2022-12-19 14:54 | 2022-12-19 22:07 | 2022-12-19 22:20 | BioGeoChem Precision | 2022-12-19-S19S_redo |  | 20mg150sIRMS_delay | 23 | 10.482 | 30% CO2 | High
N2
Peak Id | Retention Time | Width | Height (nA) | Area | 29/28 | 29/28 Raw (raw) | δ¹⁵N (Gas) | Std δ¹⁵N (Air) | B/S δ¹⁵N (Gas) | D/C δ¹⁵N (Gas) | δ¹⁵N (Air) | Std Diff δ¹⁵N (Air)
M1 | 0:01 | 0:00 | 4.1312 | 7.3657e-08 | 0.007398 | 0 | 0
S1 | 0:04 | 0:03 | 0.17246 | 7.7415e-09 | 0.0074092 | 1.5052 | 1.5052 |  |  |  | 10.0372
CO2
Peak Id | Retention Time | Width | Height (nA) | Area | 45/44 | 45/44 Raw (raw) | 46/44 | 46/44 Raw (raw) | δ¹³C (Gas) | Std δ¹³C (VPDB) | B/S δ¹³C (Gas) | D/C δ¹³C (Gas) | δ¹³C (VPDB) | Std Diff δ¹³C (VPDB)
S1 | 0:08 | 0:01 | 1.7733 | 2.854e-08 | 0.011716 | -0.74458 | 0.0040096 | -6.2627 | -0.58306 |  |  |  | -30.3369
M1 | 0:10 | 0:00 | 11.572 | 2.0659e-07 | 0.011725 | 0 | 0.0040349 | 0 | 0

## 102 (4894)
Task Report
Row Number | ArDB Sample Id | Sample Id | Id | Name | Method | Sample Type | Notes | Batch | Duration | Created Date | Start Date | Finish Date | System Description | Task List Name | EA Keyword | EA Method | EA Vial Number | EA Sample Weight | Dilution Type | S1 Tuning | S2 Tuning
|  |  | 4894 | 102 | EA Analysis NC | (none) |  | 2022-12-19_RiverCorridor_S19S_redo | 0:13 | 2022-12-19 14:59 | 2022-12-19 22:20 | 2022-12-19 22:33 | BioGeoChem Precision | 2022-12-19-S19S_redo |  | 20mg150sIRMS_delay | 24 | 10.119 | 30% CO2 | High
N2
Peak Id | Retention Time | Width | Height (nA) | Area | 29/28 | 29/28 Raw (raw) | δ¹⁵N (Gas) | Std δ¹⁵N (Air) | B/S δ¹⁵N (Gas) | D/C δ¹⁵N (Gas) | δ¹⁵N (Air) | Std Diff δ¹⁵N (Air)
M1 | 0:01 | 0:00 | 4.1344 | 7.374e-08 | 0.0073834 | 0 | 0
S1 | 0:04 | 0:03 | 0.11421 | 5.4314e-09 | 0.0073745 | -1.1953 | -1.1953 |  |  |  | 3.1912
CO2
Peak Id | Retention Time | Width | Height (nA) | Area | 45/44 | 45/44 Raw (raw) | 46/44 | 46/44 Raw (raw) | δ¹³C (Gas) | Std δ¹³C (VPDB) | B/S δ¹³C (Gas) | D/C δ¹³C (Gas) | δ¹³C (VPDB) | Std Diff δ¹³C (VPDB)
S1 | 0:08 | 0:01 | 1.7149 | 2.7843e-08 | 0.011731 | -1.4511 | 0.0040101 | -6.3035 | -1.336 |  |  |  | -31.1582
M1 | 0:10 | 0:00 | 11.5446 | 2.0677e-07 | 0.011748 | 0 | 0.0040355 | 0 | 0

## 135 (4895)
Task Report
Row Number | ArDB Sample Id | Sample Id | Id | Name | Method | Sample Type | Notes | Batch | Duration | Created Date | Start Date | Finish Date | System Description | Task List Name | EA Keyword | EA Method | EA Vial Number | EA Sample Weight | Dilution Type | S1 Tuning | S2 Tuning
|  |  | 4895 | 135 | EA Analysis NC | (none) |  | 2022-12-19_RiverCorridor_S19S_redo | 0:13 | 2022-12-19 14:59 | 2022-12-19 22:33 | 2022-12-19 22:46 | BioGeoChem Precision | 2022-12-19-S19S_redo |  | 20mg150sIRMS_delay | 25 | 9.542 | 30% CO2 | High
N2
Peak Id | Retention Time | Width | Height (nA) | Area | 29/28 | 29/28 Raw (raw) | δ¹⁵N (Gas) | Std δ¹⁵N (Air) | B/S δ¹⁵N (Gas) | D/C δ¹⁵N (Gas) | δ¹⁵N (Air) | Std Diff δ¹⁵N (Air)
M1 | 0:01 | 0:00 | 4.1231 | 7.3766e-08 | 0.007405 | 0 | 0
S1 | 0:04 | 0:03 | 0.12848 | 5.5063e-09 | 0.0073912 | -1.8614 | -1.8614 |  |  |  | 1.5026
CO2
Peak Id | Retention Time | Width | Height (nA) | Area | 45/44 | 45/44 Raw (raw) | 46/44 | 46/44 Raw (raw) | δ¹³C (Gas) | Std δ¹³C (VPDB) | B/S δ¹³C (Gas) | D/C δ¹³C (Gas) | δ¹³C (VPDB) | Std Diff δ¹³C (VPDB)
S1 | 0:08 | 0:01 | 0.99049 | 1.604e-08 | 0.011856 | 9.1658 | 0.0040096 | -6.3862 | 10.0022 |  |  |  | -18.7897
M1 | 0:10 | 0:00 | 11.5506 | 2.0617e-07 | 0.011748 | 0 | 0.0040354 | 0 | 0

## 135 (4896)
Task Report
Row Number | ArDB Sample Id | Sample Id | Id | Name | Method | Sample Type | Notes | Batch | Duration | Created Date | Start Date | Finish Date | System Description | Task List Name | EA Keyword | EA Method | EA Vial Number | EA Sample Weight | Dilution Type | S1 Tuning | S2 Tuning
|  |  | 4896 | 135 | EA Analysis NC | (none) |  | 2022-12-19_RiverCorridor_S19S_redo | 0:13 | 2022-12-19 14:59 | 2022-12-19 22:46 | 2022-12-19 23:00 | BioGeoChem Precision | 2022-12-19-S19S_redo |  | 20mg150sIRMS_delay | 26 | 9.634 | 30% CO2 | High
N2
Peak Id | Retention Time | Width | Height (nA) | Area | 29/28 | 29/28 Raw (raw) | δ¹⁵N (Gas) | Std δ¹⁵N (Air) | B/S δ¹⁵N (Gas) | D/C δ¹⁵N (Gas) | δ¹⁵N (Air) | Std Diff δ¹⁵N (Air)
M1 | 0:01 | 0:00 | 4.1282 | 7.3877e-08 | 0.0073616 | 0 | 0
S1 | 0:04 | 0:03 | 0.17534 | 7.3262e-09 | 0.0073744 | 1.7387 | 1.7387 |  |  |  | 10.6291
CO2
Peak Id | Retention Time | Width | Height (nA) | Area | 45/44 | 45/44 Raw (raw) | 46/44 | 46/44 Raw (raw) | δ¹³C (Gas) | Std δ¹³C (VPDB) | B/S δ¹³C (Gas) | D/C δ¹³C (Gas) | δ¹³C (VPDB) | Std Diff δ¹³C (VPDB)
S1 | 0:08 | 0:01 | 1.1187 | 1.8094e-08 | 0.011917 | 9.171 | 0.0040192 | -4.94 | 9.9588 |  |  |  | -18.837
M1 | 0:10 | 0:00 | 11.5364 | 2.0594e-07 | 0.011808 | 0 | 0.0040391 | 0 | 0

## 135 (4897)
Task Report
Row Number | ArDB Sample Id | Sample Id | Id | Name | Method | Sample Type | Notes | Batch | Duration | Created Date | Start Date | Finish Date | System Description | Task List Name | EA Keyword | EA Method | EA Vial Number | EA Sample Weight | Dilution Type | S1 Tuning | S2 Tuning
|  |  | 4897 | 135 | EA Analysis NC | (none) |  | 2022-12-19_RiverCorridor_S19S_redo | 0:13 | 2022-12-19 14:59 | 2022-12-19 23:00 | 2022-12-19 23:13 | BioGeoChem Precision | 2022-12-19-S19S_redo |  | 20mg150sIRMS_delay | 27 | 10.333 | 30% CO2 | High
N2
Peak Id | Retention Time | Width | Height (nA) | Area | 29/28 | 29/28 Raw (raw) | δ¹⁵N (Gas) | Std δ¹⁵N (Air) | B/S δ¹⁵N (Gas) | D/C δ¹⁵N (Gas) | δ¹⁵N (Air) | Std Diff δ¹⁵N (Air)
M1 | 0:01 | 0:00 | 4.1309 | 7.3899e-08 | 0.007408 | 0 | 0
S1 | 0:04 | 0:03 | 0.10754 | 4.908e-09 | 0.0074055 | -0.3353 | -0.3353 |  |  |  | 5.3714
CO2
Peak Id | Retention Time | Width | Height (nA) | Area | 45/44 | 45/44 Raw (raw) | 46/44 | 46/44 Raw (raw) | δ¹³C (Gas) | Std δ¹³C (VPDB) | B/S δ¹³C (Gas) | D/C δ¹³C (Gas) | δ¹³C (VPDB) | Std Diff δ¹³C (VPDB)
S1 | 0:08 | 0:01 | 1.368 | 2.2207e-08 | 0.011883 | 8.4078 | 0.0040249 | -2.9443 | 9.0764 |  |  |  | -19.7996
M1 | 0:10 | 0:00 | 11.5445 | 2.06e-07 | 0.011783 | 0 | 0.0040368 | 0 | 0

## MT (4898)
Task Report
Row Number | ArDB Sample Id | Sample Id | Id | Name | Method | Sample Type | Notes | Batch | Duration | Created Date | Start Date | Finish Date | System Description | Task List Name | EA Keyword | EA Method | EA Vial Number | EA Sample Weight | Dilution Type | S1 Tuning | S2 Tuning
|  |  | 4898 | MT | EA Analysis NC | (Blank) |  | 2022-12-19_RiverCorridor_S19S_redo | 0:13 | 2022-12-19 14:59 | 2022-12-19 23:13 | 2022-12-19 23:26 | BioGeoChem Precision | 2022-12-19-S19S_redo |  | 20mg150sIRMS_delay | 28 | 100 |  | High
N2
Peak Id | Retention Time | Width | Height (nA) | Area | 29/28 | 29/28 Raw (raw) | δ¹⁵N (Gas) | Std δ¹⁵N (Air) | B/S δ¹⁵N (Gas) | D/C δ¹⁵N (Gas) | δ¹⁵N (Air) | Std Diff δ¹⁵N (Air)
M1 | 0:01 | 0:00 | 4.1268 | 7.3854e-08 | 0.007406 | 0 | 0
S1 | 0:04 | 0:02 | 0.093434 | 3.6228e-09 | 0.0073432 | -8.4774 | -8.4774
CO2
Peak Id | Retention Time | Width | Height (nA) | Area | 45/44 | 45/44 Raw (raw) | 46/44 | 46/44 Raw (raw) | δ¹³C (Gas) | Std δ¹³C (VPDB) | B/S δ¹³C (Gas) | D/C δ¹³C (Gas) | δ¹³C (VPDB) | Std Diff δ¹³C (VPDB)
S1 | 0:08 | 0:02 | 0.057841 | 1.4164e-09 | 0.01179 | -1.0138 | 0.0040139 | -5.9388 | -0.88144
M1 | 0:10 | 0:00 | 11.5407 | 2.0678e-07 | 0.011802 | 0 | 0.0040379 | 0 | 0

## aspartic (4899)
Task Report
Row Number | ArDB Sample Id | Sample Id | Id | Name | Method | Sample Type | Notes | Batch | Duration | Created Date | Start Date | Finish Date | System Description | Task List Name | EA Keyword | EA Method | EA Vial Number | EA Sample Weight | Dilution Type | S1 Tuning | S2 Tuning
|  |  | 4899 | aspartic | EA Analysis NC | aspartics |  | 2022-12-19_RiverCorridor_S19S_redo | 0:13 | 2022-12-19 15:03 | 2022-12-19 23:26 | 2022-12-19 23:39 | BioGeoChem Precision | 2022-12-19-S19S_redo |  | 20mg150sIRMS_delay | 29 | 0.519 | 30% CO2 | High
N2
Peak Id | Retention Time | Width | Height (nA) | Area | 29/28 | 29/28 Raw (raw) | δ¹⁵N (Gas) | Std δ¹⁵N (Air) | B/S δ¹⁵N (Gas) | D/C δ¹⁵N (Gas) | δ¹⁵N (Air) | Std Diff δ¹⁵N (Air)
M1 | 0:01 | 0:00 | 4.133 | 7.3981e-08 | 0.0073685 | 0 | 0
S1 | 0:04 | 0:02 | 2.0967 | 5.3078e-08 | 0.0073674 | -0.15364 | -0.15364 | 6.86 |  |  | 5.8319 | 1.0281
CO2
Peak Id | Retention Time | Width | Height (nA) | Area | 45/44 | 45/44 Raw (raw) | 46/44 | 46/44 Raw (raw) | δ¹³C (Gas) | Std δ¹³C (VPDB) | B/S δ¹³C (Gas) | D/C δ¹³C (Gas) | δ¹³C (VPDB) | Std Diff δ¹³C (VPDB)
S1 | 0:08 | 0:01 | 6.099 | 1.0003e-07 | 0.011706 | -4.2496 | 0.0040147 | -5.2223 | -4.3605 | -33.55 |  |  | -34.4576 | 0.90761
M1 | 0:10 | 0:00 | 11.5671 | 2.0642e-07 | 0.011756 | 0 | 0.0040357 | 0 | 0

## 124 (4900)
Task Report
Row Number | ArDB Sample Id | Sample Id | Id | Name | Method | Sample Type | Notes | Batch | Duration | Created Date | Start Date | Finish Date | System Description | Task List Name | EA Keyword | EA Method | EA Vial Number | EA Sample Weight | Dilution Type | S1 Tuning | S2 Tuning
|  |  | 4900 | 124 | EA Analysis NC | (none) |  | 2022-12-19_RiverCorridor_S19S_redo | 0:13 | 2022-12-19 15:03 | 2022-12-19 23:39 | 2022-12-19 23:52 | BioGeoChem Precision | 2022-12-19-S19S_redo |  | 20mg150sIRMS_delay | 30 | 9.576 | 30% CO2 | High
N2
Peak Id | Retention Time | Width | Height (nA) | Area | 29/28 | 29/28 Raw (raw) | δ¹⁵N (Gas) | Std δ¹⁵N (Air) | B/S δ¹⁵N (Gas) | D/C δ¹⁵N (Gas) | δ¹⁵N (Air) | Std Diff δ¹⁵N (Air)
M1 | 0:01 | 0:00 | 4.1285 | 7.387e-08 | 0.007405 | 0 | 0
S1 | 0:04 | 0:03 | 0.15544 | 6.9574e-09 | 0.0074199 | 2.0133 | 2.0133 |  |  |  | 11.3254
CO2
Peak Id | Retention Time | Width | Height (nA) | Area | 45/44 | 45/44 Raw (raw) | 46/44 | 46/44 Raw (raw) | δ¹³C (Gas) | Std δ¹³C (VPDB) | B/S δ¹³C (Gas) | D/C δ¹³C (Gas) | δ¹³C (VPDB) | Std Diff δ¹³C (VPDB)
S1 | 0:08 | 0:01 | 1.1064 | 1.7778e-08 | 0.011749 | -0.012925 | 0.0040119 | -5.8045 | 0.1826 |  |  |  | -29.5016
M1 | 0:10 | 0:00 | 11.5425 | 2.0609e-07 | 0.011749 | 0 | 0.0040353 | 0 | 0

## 124 (4901)
Task Report
Row Number | ArDB Sample Id | Sample Id | Id | Name | Method | Sample Type | Notes | Batch | Duration | Created Date | Start Date | Finish Date | System Description | Task List Name | EA Keyword | EA Method | EA Vial Number | EA Sample Weight | Dilution Type | S1 Tuning | S2 Tuning
|  |  | 4901 | 124 | EA Analysis NC | (none) |  | 2022-12-19_RiverCorridor_S19S_redo | 0:13 | 2022-12-19 15:03 | 2022-12-19 23:52 | 2022-12-20 00:06 | BioGeoChem Precision | 2022-12-19-S19S_redo |  | 20mg150sIRMS_delay | 31 | 9.956 | 30% CO2 | High
N2
Peak Id | Retention Time | Width | Height (nA) | Area | 29/28 | 29/28 Raw (raw) | δ¹⁵N (Gas) | Std δ¹⁵N (Air) | B/S δ¹⁵N (Gas) | D/C δ¹⁵N (Gas) | δ¹⁵N (Air) | Std Diff δ¹⁵N (Air)
M1 | 0:01 | 0:00 | 4.133 | 7.3938e-08 | 0.0073643 | 0 | 0
S1 | 0:04 | 0:02 | 0.1179 | 5.4877e-09 | 0.0073692 | 0.66625 | 0.66625 |  |  |  | 7.9104
CO2
Peak Id | Retention Time | Width | Height (nA) | Area | 45/44 | 45/44 Raw (raw) | 46/44 | 46/44 Raw (raw) | δ¹³C (Gas) | Std δ¹³C (VPDB) | B/S δ¹³C (Gas) | D/C δ¹³C (Gas) | δ¹³C (VPDB) | Std Diff δ¹³C (VPDB)
S1 | 0:08 | 0:01 | 1.0116 | 1.6298e-08 | 0.01177 | 0.22396 | 0.0040227 | -3.312 | 0.35119 |  |  |  | -29.3177
M1 | 0:10 | 0:00 | 11.5353 | 2.0594e-07 | 0.011768 | 0 | 0.0040361 | 0 | 0

## 124 (4902)
Task Report
Row Number | ArDB Sample Id | Sample Id | Id | Name | Method | Sample Type | Notes | Batch | Duration | Created Date | Start Date | Finish Date | System Description | Task List Name | EA Keyword | EA Method | EA Vial Number | EA Sample Weight | Dilution Type | S1 Tuning | S2 Tuning
|  |  | 4902 | 124 | EA Analysis NC | (none) |  | 2022-12-19_RiverCorridor_S19S_redo | 0:13 | 2022-12-19 15:03 | 2022-12-20 00:06 | 2022-12-20 00:19 | BioGeoChem Precision | 2022-12-19-S19S_redo |  | 20mg150sIRMS_delay | 32 | 10.077 | 30% CO2 | High
N2
Peak Id | Retention Time | Width | Height (nA) | Area | 29/28 | 29/28 Raw (raw) | δ¹⁵N (Gas) | Std δ¹⁵N (Air) | B/S δ¹⁵N (Gas) | D/C δ¹⁵N (Gas) | δ¹⁵N (Air) | Std Diff δ¹⁵N (Air)
M1 | 0:01 | 0:00 | 4.1226 | 7.3786e-08 | 0.0074077 | 0 | 0
S1 | 0:04 | 0:03 | 0.17764 | 7.7469e-09 | 0.0074145 | 0.91692 | 0.91692 |  |  |  | 8.5459
CO2
Peak Id | Retention Time | Width | Height (nA) | Area | 45/44 | 45/44 Raw (raw) | 46/44 | 46/44 Raw (raw) | δ¹³C (Gas) | Std δ¹³C (VPDB) | B/S δ¹³C (Gas) | D/C δ¹³C (Gas) | δ¹³C (VPDB) | Std Diff δ¹³C (VPDB)
S1 | 0:08 | 0:01 | 1.0418 | 1.6675e-08 | 0.011806 | 0.16471 | 0.0040284 | -2.4645 | 0.25925 |  |  |  | -29.418
M1 | 0:10 | 0:00 | 11.5209 | 2.0632e-07 | 0.011805 | 0 | 0.0040383 | 0 | 0

## 129 (4903)
Task Report
Row Number | ArDB Sample Id | Sample Id | Id | Name | Method | Sample Type | Notes | Batch | Duration | Created Date | Start Date | Finish Date | System Description | Task List Name | EA Keyword | EA Method | EA Vial Number | EA Sample Weight | Dilution Type | S1 Tuning | S2 Tuning
|  |  | 4903 | 129 | EA Analysis NC | (none) |  | 2022-12-19_RiverCorridor_S19S_redo | 0:13 | 2022-12-19 15:03 | 2022-12-20 00:19 | 2022-12-20 00:32 | BioGeoChem Precision | 2022-12-19-S19S_redo |  | 20mg150sIRMS_delay | 33 | 10.072 | 30% CO2 | High
N2
Peak Id | Retention Time | Width | Height (nA) | Area | 29/28 | 29/28 Raw (raw) | δ¹⁵N (Gas) | Std δ¹⁵N (Air) | B/S δ¹⁵N (Gas) | D/C δ¹⁵N (Gas) | δ¹⁵N (Air) | Std Diff δ¹⁵N (Air)
M1 | 0:01 | 0:00 | 4.1204 | 7.3734e-08 | 0.007406 | 0 | 0
S1 | 0:04 | 0:02 | 0.79395 | 2.5098e-08 | 0.0074048 | -0.16635 | -0.16635 |  |  |  | 5.7997
CO2
Peak Id | Retention Time | Width | Height (nA) | Area | 45/44 | 45/44 Raw (raw) | 46/44 | 46/44 Raw (raw) | δ¹³C (Gas) | Std δ¹³C (VPDB) | B/S δ¹³C (Gas) | D/C δ¹³C (Gas) | δ¹³C (VPDB) | Std Diff δ¹³C (VPDB)
S1 | 0:08 | 0:01 | 14.905 | 2.5074e-07 | 0.011803 | -0.12137 | 0.0039842 | -13.3396 | 0.32178 |  |  |  | -29.3498
M1 | 0:10 | 0:00 | 11.5102 | 2.0547e-07 | 0.011804 | 0 | 0.0040381 | 0 | 0

## 129 (4904)
Task Report
Row Number | ArDB Sample Id | Sample Id | Id | Name | Method | Sample Type | Notes | Batch | Duration | Created Date | Start Date | Finish Date | System Description | Task List Name | EA Keyword | EA Method | EA Vial Number | EA Sample Weight | Dilution Type | S1 Tuning | S2 Tuning
|  |  | 4904 | 129 | EA Analysis NC | (none) |  | 2022-12-19_RiverCorridor_S19S_redo | 0:13 | 2022-12-19 15:05 | 2022-12-20 00:32 | 2022-12-20 00:45 | BioGeoChem Precision | 2022-12-19-S19S_redo |  | 20mg150sIRMS_delay | 34 | 10.189 | 30% CO2 | High
N2
Peak Id | Retention Time | Width | Height (nA) | Area | 29/28 | 29/28 Raw (raw) | δ¹⁵N (Gas) | Std δ¹⁵N (Air) | B/S δ¹⁵N (Gas) | D/C δ¹⁵N (Gas) | δ¹⁵N (Air) | Std Diff δ¹⁵N (Air)
M1 | 0:01 | 0:00 | 4.1178 | 7.3699e-08 | 0.0074069 | 0 | 0
S1 | 0:04 | 0:02 | 0.91422 | 2.9387e-08 | 0.0074064 | -0.07244 | -0.07244 |  |  |  | 6.0378
CO2
Peak Id | Retention Time | Width | Height (nA) | Area | 45/44 | 45/44 Raw (raw) | 46/44 | 46/44 Raw (raw) | δ¹³C (Gas) | Std δ¹³C (VPDB) | B/S δ¹³C (Gas) | D/C δ¹³C (Gas) | δ¹³C (VPDB) | Std Diff δ¹³C (VPDB)
S1 | 0:08 | 0:01 | 16.1352 | 2.7827e-07 | 0.011802 | -0.2304 | 0.0039753 | -15.6172 | 0.28244 |  |  |  | -29.3927
M1 | 0:10 | 0:00 | 11.4801 | 2.0484e-07 | 0.011805 | 0 | 0.0040383 | 0 | 0

## 129 (4905)
Task Report
Row Number | ArDB Sample Id | Sample Id | Id | Name | Method | Sample Type | Notes | Batch | Duration | Created Date | Start Date | Finish Date | System Description | Task List Name | EA Keyword | EA Method | EA Vial Number | EA Sample Weight | Dilution Type | S1 Tuning | S2 Tuning
|  |  | 4905 | 129 | EA Analysis NC | (none) |  | 2022-12-19_RiverCorridor_S19S_redo | 0:13 | 2022-12-19 15:07 | 2022-12-20 00:45 | 2022-12-20 00:58 | BioGeoChem Precision | 2022-12-19-S19S_redo |  | 20mg150sIRMS_delay | 35 | 10.427 | 30% CO2 | High
N2
Peak Id | Retention Time | Width | Height (nA) | Area | 29/28 | 29/28 Raw (raw) | δ¹⁵N (Gas) | Std δ¹⁵N (Air) | B/S δ¹⁵N (Gas) | D/C δ¹⁵N (Gas) | δ¹⁵N (Air) | Std Diff δ¹⁵N (Air)
M1 | 0:01 | 0:00 | 4.1118 | 7.3567e-08 | 0.0074054 | 0 | 0
S1 | 0:04 | 0:02 | 0.70953 | 2.4445e-08 | 0.0074045 | -0.12722 | -0.12722 |  |  |  | 5.8989
CO2
Peak Id | Retention Time | Width | Height (nA) | Area | 45/44 | 45/44 Raw (raw) | 46/44 | 46/44 Raw (raw) | δ¹³C (Gas) | Std δ¹³C (VPDB) | B/S δ¹³C (Gas) | D/C δ¹³C (Gas) | δ¹³C (VPDB) | Std Diff δ¹³C (VPDB)
S1 | 0:08 | 0:01 | 13.7057 | 2.3637e-07 | 0.011761 | -0.25014 | 0.0039774 | -14.5077 | 0.22382 |  |  |  | -29.4567
M1 | 0:10 | 0:00 | 11.4855 | 2.0573e-07 | 0.011764 | 0 | 0.0040359 | 0 | 0

## 132 (4906)
Task Report
Row Number | ArDB Sample Id | Sample Id | Id | Name | Method | Sample Type | Notes | Batch | Duration | Created Date | Start Date | Finish Date | System Description | Task List Name | EA Keyword | EA Method | EA Vial Number | EA Sample Weight | Dilution Type | S1 Tuning | S2 Tuning
|  |  | 4906 | 132 | EA Analysis NC | (none) |  | 2022-12-19_RiverCorridor_S19S_redo | 0:13 | 2022-12-19 15:07 | 2022-12-20 00:58 | 2022-12-20 01:12 | BioGeoChem Precision | 2022-12-19-S19S_redo |  | 20mg150sIRMS_delay | 36 | 9.571 | 30% CO2 | High
N2
Peak Id | Retention Time | Width | Height (nA) | Area | 29/28 | 29/28 Raw (raw) | δ¹⁵N (Gas) | Std δ¹⁵N (Air) | B/S δ¹⁵N (Gas) | D/C δ¹⁵N (Gas) | δ¹⁵N (Air) | Std Diff δ¹⁵N (Air)
M1 | 0:01 | 0:00 | 4.1136 | 7.3616e-08 | 0.0073899 | 0 | 0
S1 | 0:04 | 0:03 | 0.11082 | 4.6722e-09 | 0.0073422 | -6.4576 | -6.4576 |  |  |  | -10.1491
CO2
Peak Id | Retention Time | Width | Height (nA) | Area | 45/44 | 45/44 Raw (raw) | 46/44 | 46/44 Raw (raw) | δ¹³C (Gas) | Std δ¹³C (VPDB) | B/S δ¹³C (Gas) | D/C δ¹³C (Gas) | δ¹³C (VPDB) | Std Diff δ¹³C (VPDB)
S1 | 0:08 | 0:01 | 0.55874 | 9.1719e-09 | 0.011778 | -2.3944 | 0.0040073 | -7.8545 | -2.2907 |  |  |  | -32.1997
M1 | 0:10 | 0:00 | 11.4831 | 2.0492e-07 | 0.011807 | 0 | 0.0040391 | 0 | 0

## 132 (4907)
Task Report
Row Number | ArDB Sample Id | Sample Id | Id | Name | Method | Sample Type | Notes | Batch | Duration | Created Date | Start Date | Finish Date | System Description | Task List Name | EA Keyword | EA Method | EA Vial Number | EA Sample Weight | Dilution Type | S1 Tuning | S2 Tuning
|  |  | 4907 | 132 | EA Analysis NC | (none) |  | 2022-12-19_RiverCorridor_S19S_redo | 0:13 | 2022-12-19 15:07 | 2022-12-20 01:12 | 2022-12-20 01:25 | BioGeoChem Precision | 2022-12-19-S19S_redo |  | 20mg150sIRMS_delay | 37 | 9.797 | 30% CO2 | High
N2
Peak Id | Retention Time | Width | Height (nA) | Area | 29/28 | 29/28 Raw (raw) | δ¹⁵N (Gas) | Std δ¹⁵N (Air) | B/S δ¹⁵N (Gas) | D/C δ¹⁵N (Gas) | δ¹⁵N (Air) | Std Diff δ¹⁵N (Air)
M1 | 0:01 | 0:00 | 4.112 | 7.3544e-08 | 0.0074033 | 0 | 0
S1 | 0:04 | 0:03 | 0.11132 | 4.7908e-09 | 0.0073491 | -7.3149 | -7.3149 |  |  |  | -12.3224
CO2
Peak Id | Retention Time | Width | Height (nA) | Area | 45/44 | 45/44 Raw (raw) | 46/44 | 46/44 Raw (raw) | δ¹³C (Gas) | Std δ¹³C (VPDB) | B/S δ¹³C (Gas) | D/C δ¹³C (Gas) | δ¹³C (VPDB) | Std Diff δ¹³C (VPDB)
S1 | 0:08 | 0:01 | 0.55867 | 9.142e-09 | 0.011702 | -2.4508 | 0.0040193 | -3.8988 | -2.4847 |  |  |  | -32.4113
M1 | 0:10 | 0:00 | 11.4765 | 2.0482e-07 | 0.011731 | 0 | 0.004035 | 0 | 0

## 132 (4908)
Task Report
Row Number | ArDB Sample Id | Sample Id | Id | Name | Method | Sample Type | Notes | Batch | Duration | Created Date | Start Date | Finish Date | System Description | Task List Name | EA Keyword | EA Method | EA Vial Number | EA Sample Weight | Dilution Type | S1 Tuning | S2 Tuning
|  |  | 4908 | 132 | EA Analysis NC | (none) |  | 2022-12-19_RiverCorridor_S19S_redo | 0:13 | 2022-12-19 15:07 | 2022-12-20 01:25 | 2022-12-20 01:38 | BioGeoChem Precision | 2022-12-19-S19S_redo |  | 20mg150sIRMS_delay | 38 | 10.247 | 30% CO2 | High
N2
Peak Id | Retention Time | Width | Height (nA) | Area | 29/28 | 29/28 Raw (raw) | δ¹⁵N (Gas) | Std δ¹⁵N (Air) | B/S δ¹⁵N (Gas) | D/C δ¹⁵N (Gas) | δ¹⁵N (Air) | Std Diff δ¹⁵N (Air)
M1 | 0:01 | 0:00 | 4.1104 | 7.3524e-08 | 0.0074048 | 0 | 0
S1 | 0:04 | 0:03 | 0.11559 | 4.9814e-09 | 0.0073916 | -1.7819 | -1.7819 |  |  |  | 1.7041
CO2
Peak Id | Retention Time | Width | Height (nA) | Area | 45/44 | 45/44 Raw (raw) | 46/44 | 46/44 Raw (raw) | δ¹³C (Gas) | Std δ¹³C (VPDB) | B/S δ¹³C (Gas) | D/C δ¹³C (Gas) | δ¹³C (VPDB) | Std Diff δ¹³C (VPDB)
S1 | 0:08 | 0:01 | 0.55357 | 9.0348e-09 | 0.011743 | -2.2523 | 0.0040303 | -1.4183 | -2.3568 |  |  |  | -32.2718
M1 | 0:10 | 0:00 | 11.4933 | 2.0515e-07 | 0.011769 | 0 | 0.004036 | 0 | 0

## MT (4909)
Task Report
Row Number | ArDB Sample Id | Sample Id | Id | Name | Method | Sample Type | Notes | Batch | Duration | Created Date | Start Date | Finish Date | System Description | Task List Name | EA Keyword | EA Method | EA Vial Number | EA Sample Weight | Dilution Type | S1 Tuning | S2 Tuning
|  |  | 4909 | MT | EA Analysis NC | (Blank) |  | 2022-12-19_RiverCorridor_S19S_redo | 0:13 | 2022-12-19 15:07 | 2022-12-20 01:38 | 2022-12-20 01:51 | BioGeoChem Precision | 2022-12-19-S19S_redo |  | 20mg150sIRMS_delay | 39 | 100 |  | High
N2
Peak Id | Retention Time | Width | Height (nA) | Area | 29/28 | 29/28 Raw (raw) | δ¹⁵N (Gas) | Std δ¹⁵N (Air) | B/S δ¹⁵N (Gas) | D/C δ¹⁵N (Gas) | δ¹⁵N (Air) | Std Diff δ¹⁵N (Air)
M1 | 0:01 | 0:00 | 4.1124 | 7.359e-08 | 0.007347 | 0 | 0
S1 | 0:04 | 0:02 | 0.093601 | 3.6961e-09 | 0.0073311 | -2.1643 | -2.1643
CO2
Peak Id | Retention Time | Width | Height (nA) | Area | 45/44 | 45/44 Raw (raw) | 46/44 | 46/44 Raw (raw) | δ¹³C (Gas) | Std δ¹³C (VPDB) | B/S δ¹³C (Gas) | D/C δ¹³C (Gas) | δ¹³C (VPDB) | Std Diff δ¹³C (VPDB)
S1 | 0:08 | 0:02 | 0.078615 | 1.8986e-09 | 0.011753 | -2.7953 | 0.0040083 | -7.067 | -2.7454
M1 | 0:10 | 0:00 | 11.4757 | 2.0484e-07 | 0.011786 | 0 | 0.0040368 | 0 | 0

## aspartic (4910)
Task Report
Row Number | ArDB Sample Id | Sample Id | Id | Name | Method | Sample Type | Notes | Batch | Duration | Created Date | Start Date | Finish Date | System Description | Task List Name | EA Keyword | EA Method | EA Vial Number | EA Sample Weight | Dilution Type | S1 Tuning | S2 Tuning
|  |  | 4910 | aspartic | EA Analysis NC | aspartics |  | 2022-12-19_RiverCorridor_S19S_redo | 0:13 | 2022-12-19 15:07 | 2022-12-20 01:51 | 2022-12-20 02:04 | BioGeoChem Precision | 2022-12-19-S19S_redo |  | 20mg150sIRMS_delay | 40 | 0.465 | 30% CO2 | High
N2
Peak Id | Retention Time | Width | Height (nA) | Area | 29/28 | 29/28 Raw (raw) | δ¹⁵N (Gas) | Std δ¹⁵N (Air) | B/S δ¹⁵N (Gas) | D/C δ¹⁵N (Gas) | δ¹⁵N (Air) | Std Diff δ¹⁵N (Air)
M1 | 0:01 | 0:00 | 4.1087 | 7.3509e-08 | 0.0074058 | 0 | 0
S1 | 0:04 | 0:02 | 1.8692 | 4.782e-08 | 0.0074067 | 0.1155 | 0.1155 | 6.86 |  |  | 6.5142 | 0.34581
CO2
Peak Id | Retention Time | Width | Height (nA) | Area | 45/44 | 45/44 Raw (raw) | 46/44 | 46/44 Raw (raw) | δ¹³C (Gas) | Std δ¹³C (VPDB) | B/S δ¹³C (Gas) | D/C δ¹³C (Gas) | δ¹³C (VPDB) | Std Diff δ¹³C (VPDB)
S1 | 0:08 | 0:01 | 5.3921 | 8.8825e-08 | 0.011717 | -3.9888 | 0.0040207 | -3.7367 | -4.1323 | -33.55 |  |  | -34.2086 | 0.65864
M1 | 0:10 | 0:00 | 11.4705 | 2.0482e-07 | 0.011764 | 0 | 0.0040358 | 0 | 0

## aspartic-0.1 mg (4911)
Task Report
Row Number | ArDB Sample Id | Sample Id | Id | Name | Method | Sample Type | Notes | Batch | Duration | Created Date | Start Date | Finish Date | System Description | Task List Name | EA Keyword | EA Method | EA Vial Number | EA Sample Weight | Dilution Type | S1 Tuning | S2 Tuning
|  |  | 4911 | aspartic-0.1 mg | EA Analysis NC | aspartics |  | 2022-12-19_RiverCorridor_S19S_redo | 0:13 | 2022-12-19 15:07 | 2022-12-20 02:04 | 2022-12-20 02:17 | BioGeoChem Precision | 2022-12-19-S19S_redo |  | 20mg150sIRMS_delay | 41 | 0.122 | 30% CO2 | High
N2
Peak Id | Retention Time | Width | Height (nA) | Area | 29/28 | 29/28 Raw (raw) | δ¹⁵N (Gas) | Std δ¹⁵N (Air) | B/S δ¹⁵N (Gas) | D/C δ¹⁵N (Gas) | δ¹⁵N (Air) | Std Diff δ¹⁵N (Air)
M1 | 0:01 | 0:00 | 4.1135 | 7.3347e-08 | 0.0074068 | 0 | 0
S1 | 0:04 | 0:02 | 0.52126 | 1.5585e-08 | 0.0074096 | 0.36817 | 0.36817 | 6.86 |  |  | 7.1547 | -0.29474
CO2
Peak Id | Retention Time | Width | Height (nA) | Area | 45/44 | 45/44 Raw (raw) | 46/44 | 46/44 Raw (raw) | δ¹³C (Gas) | Std δ¹³C (VPDB) | B/S δ¹³C (Gas) | D/C δ¹³C (Gas) | δ¹³C (VPDB) | Std Diff δ¹³C (VPDB)
S1 | 0:08 | 0:01 | 1.6167 | 2.5392e-08 | 0.011722 | -3.3507 | 0.004028 | -1.92 | -3.5124 | -33.55 |  |  | -33.5325 | -0.017518
M1 | 0:10 | 0:00 | 11.4692 | 2.0467e-07 | 0.011761 | 0 | 0.0040358 | 0 | 0

## aspartic-1 mg (4912)
Task Report
Row Number | ArDB Sample Id | Sample Id | Id | Name | Method | Sample Type | Notes | Batch | Duration | Created Date | Start Date | Finish Date | System Description | Task List Name | EA Keyword | EA Method | EA Vial Number | EA Sample Weight | Dilution Type | S1 Tuning | S2 Tuning
|  |  | 4912 | aspartic-1 mg | EA Analysis NC | (none) |  | 2022-12-19_RiverCorridor_S19S_redo | 0:13 | 2022-12-19 15:07 | 2022-12-20 02:17 | 2022-12-20 02:31 | BioGeoChem Precision | 2022-12-19-S19S_redo |  | 20mg150sIRMS_delay | 42 | 1.026 | 30% CO2 | High
N2
Peak Id | Retention Time | Width | Height (nA) | Area | 29/28 | 29/28 Raw (raw) | δ¹⁵N (Gas) | Std δ¹⁵N (Air) | B/S δ¹⁵N (Gas) | D/C δ¹⁵N (Gas) | δ¹⁵N (Air) | Std Diff δ¹⁵N (Air)
M1 | 0:01 | 0:00 | 4.1083 | 7.3499e-08 | 0.0073881 | 0 | 0
S1 | 0:04 | 0:01 | 4.3136 | 1.0408e-07 | 0.0073903 | 0.29716 | 0.29716 |  |  |  | 6.9747
CO2
Peak Id | Retention Time | Width | Height (nA) | Area | 45/44 | 45/44 Raw (raw) | 46/44 | 46/44 Raw (raw) | δ¹³C (Gas) | Std δ¹³C (VPDB) | B/S δ¹³C (Gas) | D/C δ¹³C (Gas) | δ¹³C (VPDB) | Std Diff δ¹³C (VPDB)
S1 | 0:08 | 0:01 | 11.3495 | 1.8775e-07 | 0.011754 | -4.3882 | 0.0039953 | -11.1151 | -4.3091 |  |  |  | -34.4015
M1 | 0:10 | 0:00 | 11.4481 | 2.0429e-07 | 0.011805 | 0 | 0.0040402 | 0 | 0

## aspartic-3 mg (4913)
Task Report
Row Number | ArDB Sample Id | Sample Id | Id | Name | Method | Sample Type | Notes | Batch | Duration | Created Date | Start Date | Finish Date | System Description | Task List Name | EA Keyword | EA Method | EA Vial Number | EA Sample Weight | Dilution Type | S1 Tuning | S2 Tuning
|  |  | 4913 | aspartic-3 mg | EA Analysis NC | (none) |  | 2022-12-19_RiverCorridor_S19S_redo | 0:14 | 2022-12-19 15:07 | 2022-12-20 02:31 | 2022-12-20 02:45 | BioGeoChem Precision | 2022-12-19-S19S_redo |  | 20mg150sIRMS_delay | 43 | 3.039 | 30% CO2 | High
N2
Peak Id | Retention Time | Width | Height (nA) | Area | 29/28 | 29/28 Raw (raw) | δ¹⁵N (Gas) | Std δ¹⁵N (Air) | B/S δ¹⁵N (Gas) | D/C δ¹⁵N (Gas) | δ¹⁵N (Air) | Std Diff δ¹⁵N (Air)
M1 | 0:01 | 0:00 | 4.1035 | 7.3426e-08 | 0.0074072 | 0 | 0
S1 | 0:04 | 0:01 | 13.3999 | 3.2842e-07 | 0.0074077 | 0.059315 | 0.059315 |  |  |  | 6.3718
CO2
Peak Id | Retention Time | Width | Height (nA) | Area | 45/44 | 45/44 Raw (raw) | 46/44 | 46/44 Raw (raw) | δ¹³C (Gas) | Std δ¹³C (VPDB) | B/S δ¹³C (Gas) | D/C δ¹³C (Gas) | δ¹³C (VPDB) | Std Diff δ¹³C (VPDB)
S1 | 0:09 | 0:02 | 24.8686 | 5.8713e-07 | 0.011695 | -4.9421 | 0.0039543 | -20.1811 | -4.5937 |  |  |  | -34.712
M1 | 0:10 | 0:00 | 11.4531 | 2.0459e-07 | 0.011754 | 0 | 0.0040357 | 0 | 0

## moran-low (4914)
Task Report
Row Number | ArDB Sample Id | Sample Id | Id | Name | Method | Sample Type | Notes | Batch | Duration | Created Date | Start Date | Finish Date | System Description | Task List Name | EA Keyword | EA Method | EA Vial Number | EA Sample Weight | Dilution Type | S1 Tuning | S2 Tuning
|  |  | 4914 | moran-low | EA Analysis NC | Moran_LOW |  | 2022-12-19_RiverCorridor_S19S_redo | 0:13 | 2022-12-19 15:07 | 2022-12-20 02:45 | 2022-12-20 02:58 | BioGeoChem Precision | 2022-12-19-S19S_redo |  | 20mg150sIRMS_delay | 44 | 0.054 | 30% CO2 | High
N2
Peak Id | Retention Time | Width | Height (nA) | Area | 29/28 | 29/28 Raw (raw) | δ¹⁵N (Gas) | Std δ¹⁵N (Air) | B/S δ¹⁵N (Gas) | D/C δ¹⁵N (Gas) | δ¹⁵N (Air) | Std Diff δ¹⁵N (Air)
M1 | 0:01 | 0:00 | 4.1049 | 7.3458e-08 | 0.0073408 | 0 | 0
S1 | 0:04 | 0:02 | 0.21651 | 8.5167e-09 | 0.0072921 | -6.6349 | -6.6349 | -8.58 |  |  | -10.5984 | 2.0184
CO2
Peak Id | Retention Time | Width | Height (nA) | Area | 45/44 | 45/44 Raw (raw) | 46/44 | 46/44 Raw (raw) | δ¹³C (Gas) | Std δ¹³C (VPDB) | B/S δ¹³C (Gas) | D/C δ¹³C (Gas) | δ¹³C (VPDB) | Std Diff δ¹³C (VPDB)
S1 | 0:08 | 0:01 | 0.83432 | 1.3313e-08 | 0.011933 | 14.3463 | 0.0040284 | -1.9125 | 15.3819 | -11.09 |  |  | -12.9211 | 1.8311
M1 | 0:10 | 0:00 | 11.4531 | 2.0439e-07 | 0.011764 | 0 | 0.0040362 | 0 | 0

## moran-low (4915)
Task Report
Row Number | ArDB Sample Id | Sample Id | Id | Name | Method | Sample Type | Notes | Batch | Duration | Created Date | Start Date | Finish Date | System Description | Task List Name | EA Keyword | EA Method | EA Vial Number | EA Sample Weight | Dilution Type | S1 Tuning | S2 Tuning
|  |  | 4915 | moran-low | EA Analysis NC | Moran_LOW |  | 2022-12-19_RiverCorridor_S19S_redo | 0:13 | 2022-12-19 15:15 | 2022-12-20 02:58 | 2022-12-20 03:11 | BioGeoChem Precision | 2022-12-19-S19S_redo |  | 20mg150sIRMS_delay | 45 | 0.047 | 30% CO2 | High
N2
Peak Id | Retention Time | Width | Height (nA) | Area | 29/28 | 29/28 Raw (raw) | δ¹⁵N (Gas) | Std δ¹⁵N (Air) | B/S δ¹⁵N (Gas) | D/C δ¹⁵N (Gas) | δ¹⁵N (Air) | Std Diff δ¹⁵N (Air)
M1 | 0:01 | 0:00 | 4.1063 | 7.3428e-08 | 0.0073569 | 0 | 0
S1 | 0:04 | 0:03 | 0.12653 | 6.3708e-09 | 0.007304 | -7.1899 | -7.1899 | -8.58 |  |  | -12.0055 | 3.4255
CO2
Peak Id | Retention Time | Width | Height (nA) | Area | 45/44 | 45/44 Raw (raw) | 46/44 | 46/44 Raw (raw) | δ¹³C (Gas) | Std δ¹³C (VPDB) | B/S δ¹³C (Gas) | D/C δ¹³C (Gas) | δ¹³C (VPDB) | Std Diff δ¹³C (VPDB)
S1 | 0:08 | 0:01 | 0.58217 | 9.3427e-09 | 0.011911 | 15.5113 | 0.0040414 | 1.5672 | 16.508 | -11.09 |  |  | -11.6927 | 0.60273
M1 | 0:10 | 0:00 | 11.4638 | 2.0462e-07 | 0.011729 | 0 | 0.0040351 | 0 | 0

## moran-med (4916)
Task Report
Row Number | ArDB Sample Id | Sample Id | Id | Name | Method | Sample Type | Notes | Batch | Duration | Created Date | Start Date | Finish Date | System Description | Task List Name | EA Keyword | EA Method | EA Vial Number | EA Sample Weight | Dilution Type | S1 Tuning | S2 Tuning
|  |  | 4916 | moran-med | EA Analysis NC | Moran_MED |  | 2022-12-19_RiverCorridor_S19S_redo | 0:13 | 2022-12-19 15:16 | 2022-12-20 03:11 | 2022-12-20 03:24 | BioGeoChem Precision | 2022-12-19-S19S_redo |  | 20mg150sIRMS_delay | 46 | 0.041 | 30% CO2 | High
N2
Peak Id | Retention Time | Width | Height (nA) | Area | 29/28 | 29/28 Raw (raw) | δ¹⁵N (Gas) | Std δ¹⁵N (Air) | B/S δ¹⁵N (Gas) | D/C δ¹⁵N (Gas) | δ¹⁵N (Air) | Std Diff δ¹⁵N (Air)
M1 | 0:01 | 0:00 | 4.1092 | 7.3522e-08 | 0.0073526 | 0 | 0
S1 | 0:04 | 0:03 | 0.13344 | 6.6469e-09 | 0.0075651 | 28.9039 | 28.9039 | 73.58 |  |  | 79.4949 | -5.9149
CO2
Peak Id | Retention Time | Width | Height (nA) | Area | 45/44 | 45/44 Raw (raw) | 46/44 | 46/44 Raw (raw) | δ¹³C (Gas) | Std δ¹³C (VPDB) | B/S δ¹³C (Gas) | D/C δ¹³C (Gas) | δ¹³C (VPDB) | Std Diff δ¹³C (VPDB)
S1 | 0:08 | 0:01 | 0.63808 | 1.0097e-08 | 0.012199 | 40.5239 | 0.0040504 | 3.7987 | 43.1379 | 16.73 |  |  | 17.3571 | -0.62713
M1 | 0:10 | 0:00 | 11.4579 | 2.0461e-07 | 0.011724 | 0 | 0.0040351 | 0 | 0

## moran-med (4917)
Task Report
Row Number | ArDB Sample Id | Sample Id | Id | Name | Method | Sample Type | Notes | Batch | Duration | Created Date | Start Date | Finish Date | System Description | Task List Name | EA Keyword | EA Method | EA Vial Number | EA Sample Weight | Dilution Type | S1 Tuning | S2 Tuning
|  |  | 4917 | moran-med | EA Analysis NC | Moran_MED |  | 2022-12-19_RiverCorridor_S19S_redo | 0:13 | 2022-12-19 15:16 | 2022-12-20 03:24 | 2022-12-20 03:38 | BioGeoChem Precision | 2022-12-19-S19S_redo |  | 20mg150sIRMS_delay | 47 | 0.044 | 30% CO2 | High
N2
Peak Id | Retention Time | Width | Height (nA) | Area | 29/28 | 29/28 Raw (raw) | δ¹⁵N (Gas) | Std δ¹⁵N (Air) | B/S δ¹⁵N (Gas) | D/C δ¹⁵N (Gas) | δ¹⁵N (Air) | Std Diff δ¹⁵N (Air)
M1 | 0:01 | 0:00 | 4.1098 | 7.3495e-08 | 0.0073937 | 0 | 0
S1 | 0:04 | 0:03 | 0.14925 | 7.0393e-09 | 0.0075907 | 26.6354 | 26.6354 | 73.58 |  |  | 73.7441 | -0.16407
CO2
Peak Id | Retention Time | Width | Height (nA) | Area | 45/44 | 45/44 Raw (raw) | 46/44 | 46/44 Raw (raw) | δ¹³C (Gas) | Std δ¹³C (VPDB) | B/S δ¹³C (Gas) | D/C δ¹³C (Gas) | δ¹³C (VPDB) | Std Diff δ¹³C (VPDB)
S1 | 0:08 | 0:01 | 0.61009 | 9.7795e-09 | 0.012232 | 40.4715 | 0.0040512 | 3.85 | 43.0802 | 16.73 |  |  | 17.2942 | -0.56418
M1 | 0:10 | 0:00 | 11.4707 | 2.047e-07 | 0.011756 | 0 | 0.0040357 | 0 | 0

## MT (4918)
Task Report
Row Number | ArDB Sample Id | Sample Id | Id | Name | Method | Sample Type | Notes | Batch | Duration | Created Date | Start Date | Finish Date | System Description | Task List Name | EA Keyword | EA Method | EA Vial Number | EA Sample Weight | Dilution Type | S1 Tuning | S2 Tuning
|  |  | 4918 | MT | EA Analysis NC | (Blank) |  | 2022-12-19_RiverCorridor_S19S_redo | 0:13 | 2022-12-20 09:25 | 2022-12-20 09:25 | 2022-12-20 09:38 | BioGeoChem Precision | 2022-12-19-S19S_redo |  | 20mg150sIRMS_delay | 48 | 100 |  | High
N2
Peak Id | Retention Time | Width | Height (nA) | Area | 29/28 | 29/28 Raw (raw) | δ¹⁵N (Gas) | Std δ¹⁵N (Air) | B/S δ¹⁵N (Gas) | D/C δ¹⁵N (Gas) | δ¹⁵N (Air) | Std Diff δ¹⁵N (Air)
M1 | 0:01 | 0:00 | 4.1572 | 7.4067e-08 | 0.0071847 | 0 | 0
S1 | 0:04 | 0:03 | 0.14036 | 5.7366e-09 | 0.007107 | -10.817 | -10.817
CO2
Peak Id | Retention Time | Width | Height (nA) | Area | 45/44 | 45/44 Raw (raw) | 46/44 | 46/44 Raw (raw) | δ¹³C (Gas) | Std δ¹³C (VPDB) | B/S δ¹³C (Gas) | D/C δ¹³C (Gas) | δ¹³C (VPDB) | Std Diff δ¹³C (VPDB)
S1 | 0:08 | 0:02 | 0.033602 | 5.6416e-10 | 0.011352 | -35.651 | 0.0034879 | -136.0006 | -33.462
M1 | 0:10 | 0:00 | 11.5741 | 2.0661e-07 | 0.011771 | 0 | 0.0040369 | 0 | 0

## MT (4919)
Task Report
Row Number | ArDB Sample Id | Sample Id | Id | Name | Method | Sample Type | Notes | Batch | Duration | Created Date | Start Date | Finish Date | System Description | Task List Name | EA Keyword | EA Method | EA Vial Number | EA Sample Weight | Dilution Type | S1 Tuning | S2 Tuning
|  |  | 4919 | MT | EA Analysis NC | (Blank) |  | 2022-12-19_RiverCorridor_S19S_redo | 0:13 | 2022-12-20 09:37 | 2022-12-20 09:38 | 2022-12-20 09:52 | BioGeoChem Precision | 2022-12-19-S19S_redo |  | 20mg150sIRMS_delay | 49 | 100 |  | High
N2
Peak Id | Retention Time | Width | Height (nA) | Area | 29/28 | 29/28 Raw (raw) | δ¹⁵N (Gas) | Std δ¹⁵N (Air) | B/S δ¹⁵N (Gas) | D/C δ¹⁵N (Gas) | δ¹⁵N (Air) | Std Diff δ¹⁵N (Air)
M1 | 0:01 | 0:00 | 4.1331 | 7.3929e-08 | 0.0072883 | 0 | 0
S1 | 0:04 | 0:02 | 0.091978 | 3.578e-09 | 0.0072516 | -5.0254 | -5.0254
CO2
Peak Id | Retention Time | Width | Height (nA) | Area | 45/44 | 45/44 Raw (raw) | 46/44 | 46/44 Raw (raw) | δ¹³C (Gas) | Std δ¹³C (VPDB) | B/S δ¹³C (Gas) | D/C δ¹³C (Gas) | δ¹³C (VPDB) | Std Diff δ¹³C (VPDB)
S1 | 0:08 | 0:02 | 0.028707 | 6.765e-10 | 0.011593 | -2.4942 | 0.0040046 | -7.1831 | -2.42
M1 | 0:10 | 0:00 | 11.5669 | 2.0641e-07 | 0.011622 | 0 | 0.0040336 | 0 | 0

## moran-low (4920)
Task Report
Row Number | ArDB Sample Id | Sample Id | Id | Name | Method | Sample Type | Notes | Batch | Duration | Created Date | Start Date | Finish Date | System Description | Task List Name | EA Keyword | EA Method | EA Vial Number | EA Sample Weight | Dilution Type | S1 Tuning | S2 Tuning
|  |  | 4920 | moran-low | EA Analysis NC | Moran_LOW |  | 2022-12-19_RiverCorridor_S19S_redo | 0:13 | 2022-12-20 09:35 | 2022-12-20 09:52 | 2022-12-20 10:05 | BioGeoChem Precision | 2022-12-19-S19S_redo |  | 20mg150sIRMS_delay | 50 | 0.037 |  | High
N2
Peak Id | Retention Time | Width | Height (nA) | Area | 29/28 | 29/28 Raw (raw) | δ¹⁵N (Gas) | Std δ¹⁵N (Air) | B/S δ¹⁵N (Gas) | D/C δ¹⁵N (Gas) | δ¹⁵N (Air) | Std Diff δ¹⁵N (Air)
M1 | 0:01 | 0:00 | 4.1352 | 7.3949e-08 | 0.0073591 | 0 | 0
S1 | 0:04 | 0:03 | 0.11004 | 5.8305e-09 | 0.0073198 | -5.3385 | -5.3385 | -8.58 |  |  | -7.3121 | -1.2679
CO2
Peak Id | Retention Time | Width | Height (nA) | Area | 45/44 | 45/44 Raw (raw) | 46/44 | 46/44 Raw (raw) | δ¹³C (Gas) | Std δ¹³C (VPDB) | B/S δ¹³C (Gas) | D/C δ¹³C (Gas) | δ¹³C (VPDB) | Std Diff δ¹³C (VPDB)
S1 | 0:08 | 0:01 | 6.2757 | 1.0507e-07 | 0.01179 | 14.6231 | 0.0040329 | -0.19385 | 15.6193 | -11.09 |  |  | -12.6622 | 1.5722
M1 | 0:10 | 0:00 | 11.5657 | 2.0644e-07 | 0.01162 | 0 | 0.0040337 | 0 | 0

## moran-med (4921)
Task Report
Row Number | ArDB Sample Id | Sample Id | Id | Name | Method | Sample Type | Notes | Batch | Duration | Created Date | Start Date | Finish Date | System Description | Task List Name | EA Keyword | EA Method | EA Vial Number | EA Sample Weight | Dilution Type | S1 Tuning | S2 Tuning
|  |  | 4921 | moran-med | EA Analysis NC | Moran_MED |  | 2022-12-19_RiverCorridor_S19S_redo | 0:13 | 2022-12-20 09:35 | 2022-12-20 10:05 | 2022-12-20 10:18 | BioGeoChem Precision | 2022-12-19-S19S_redo |  | 20mg150sIRMS_delay | 51 | 0.055 |  | High
N2
Peak Id | Retention Time | Width | Height (nA) | Area | 29/28 | 29/28 Raw (raw) | δ¹⁵N (Gas) | Std δ¹⁵N (Air) | B/S δ¹⁵N (Gas) | D/C δ¹⁵N (Gas) | δ¹⁵N (Air) | Std Diff δ¹⁵N (Air)
M1 | 0:01 | 0:00 | 4.1359 | 7.4e-08 | 0.0072832 | 0 | 0
S1 | 0:04 | 0:03 | 0.12193 | 6.4956e-09 | 0.0074492 | 22.8018 | 22.8018 | 73.58 |  |  | 64.0256 | 9.5544
CO2
Peak Id | Retention Time | Width | Height (nA) | Area | 45/44 | 45/44 Raw (raw) | 46/44 | 46/44 Raw (raw) | δ¹³C (Gas) | Std δ¹³C (VPDB) | B/S δ¹³C (Gas) | D/C δ¹³C (Gas) | δ¹³C (VPDB) | Std Diff δ¹³C (VPDB)
S1 | 0:08 | 0:01 | 8.9077 | 1.4801e-07 | 0.012094 | 40.1098 | 0.0040318 | -0.48213 | 42.8406 | 16.73 |  |  | 17.0328 | -0.30279
M1 | 0:10 | 0:00 | 11.5665 | 2.0642e-07 | 0.011628 | 0 | 0.0040338 | 0 | 0